## Title page
Title page
About this file
Case number | ACM/18/033332
Title | Profit sharing model STUCO t.b.v. tarieven 2019
Decision title | Decisions on production price and fixed and variable distribution tariffs for electricity and drinking water STUCO 2019
Decision reference(s) | ACM/UIT/503138 ACM/UIT/503139 ACM/UIT/503140 ACM/UIT/503141
Coherence with other calculation files | This file serves as input for the tariff calculation as published by the ACM in the file Rekenmodel STUCO 2019.
Other remarks
About the status of this file
Final version? | Yes
Published? | Yes
Is this file legally part of the decision(s) listed above? | Yes
Contains business confidential information? | No
Other remarks
Possibilities of objection and appeal are open against the decision which this file is a part of.

## Explanation
Explanation to this file
Explanatory notes
This document contains the calculation of the electricity and water prices of St. Eustatius Utility Company (hereafter: STUCO). These prices are based on an estimation of the cost of STUCO in 2019 and the profit sharing results of 2017.
ACM estimates the costs of 2019 with the costs of 2017 as can be found in the annual account of STUCO.
In addition to the corrections as made in the profit sharing model, a correction is made in this tariff model for the WACC 2018.
Legend to cell coloring
Cellcolor numbers | Description
123 | Data and input (source required)
123 | Value that is drawn from another sheet or cell without calculation
246 | Calculated value
369 | Result/calculated value that is referred to on another sheet
Empty cell (not zero) used in a formula range
Exceptional cells
385 | Value or calculation that needs special attention or explanation
386.4159 | Input or calculation that is not yet up to date, pro memori or work in progress
Sheet colors
Model sheets
Result | Sheet with result/output
Data | Sheet with input
Calculation | Sheet with calculations
Calculation | Sheet that is not yet up to date/work in progress
Explanatory sheets
Input --> | Empty sheet used for indexing
Explanation | Standardized sheets with information on the file
Note on B22: In alle gevallen dient een (groep van) roze cel(len) voorzien te zijn van een opmerking die uitlegt wat er specifiek zo bijzonder is aan deze roze cellen

## Sources and applications
Source overview and specifications
List of sources
On this sheet, an overview can be found in which the ACM describes the sources used for data and calculations in this file.
Each input sheet contains a column 'Source', in which the sources are referred to by their shortened name. These sources are further explained in the table below.
No | Shortened name | External file name | Case number ACM | Additional information on this source
| As referred to in Source column | Exact file name | If applicable | Date received, email, file location
1 | Production Price model Electricity | 20161214 Production price model Electricity STUCO
2 | Production Price model drinking water | 20161214 Production price model Drinking water STUCO
3 | Rekenmodel STUCO 2018 | Rekenmodel STUCO 2018
4 | Distributietarieven Elektriciteit 2017 | Rekenmodel Distributietarieven Elektriciteit STUCO 2017
5 | Tariff 22 (assumption this is the rate for the electricity consumption to produce drinking water) | Electricity rates STUCO |  | Email sent by STUCO on November 27, 2015.
6 | RAV-model STUCO | RAV-model STUCO t.b.v. tarieven 2019 (definitief)
7 | OPEX-model STUCO | OPEX-model STUCO t.b.v. tarieven 2019 (definitief)
8 | Estimated electricity production 2019 (solar and fuel) | An estimation of the production of Electricity in 2019 by Solar and by Fuel |  | Email sent by STUCO on September 4, 2018.
9 | Estimated water production 2019 | An estimation of the production of Water in 2019 |  | Email sent by STUCO on September 5, 2018.
10 | STUCO fuel prices 2017 | STUCO fuel prices 2017 (input for PS + Tariff model 2019)
11 | Informatieverzoek ACM | 170810 Informatieverzoek ACM Caribisch Nederland - STUCO - vertaling |  | Email sent by STUCO on August 11, 2017.
12 | Email STUCO 23-10-2018 |  |  | Email sent by ACM on October 23, 2018, answered by STUCO on October 24, 2018
13 | Caribisch Nederland CPI (2010=100) |  |  | http://statline.cbs.nl/Statweb/publication/?DM=SLNL&PA=81122NED&D1=0-2&D2=0&D3=a&D4=a&VW=T
14 | Caribisch Nederland CPI (2017=100) |  |  | https://opendata.cbs.nl/statline/#/CBS/nl/dataset/84046NED/table?ts=1541174354543
15 | ACM WACC decision 2016 | ACM Decision 2016: Calculating the WACC for energy and water companies in the Caribbean Netherlands |  | https://www.acm.nl/sites/default/files/old_publication/publicaties/16601_wacc-determination-caribbean-netherlands.pdf

## Result
Result
Description result
This sheet summarizes the corrections which will be used as input for the tariffs of STUCO in 2019.
Description | Unit | Row total | Electricity production | Water production | Remarks
Results for corrections in tariffs 2019
Volume-effect correction
Add-on because of volume effect | USD, pl 2017 | -96807.7065 | -13778.9167 | -83028.7897
Profit sharing correction
Add-on because of profit sharing | USD, pl 2017 | 39223.463 | -29690.3219 | 68913.7849
Energy component corrections
Fuel price correction | USD, pl 2017 | -43188.7781 | -43188.7781
Electricity price correction | USD, pl 2017 | 17473.5781 |  | 17473.5781

## Estimation for 2017
Data on the estimation of 2017
Description data
In December 2016, the ACM determined the production price. ACM determined the production price by estimating the costs and volume of STUCO. This sheet show the data used in this estimation.
Description | Unit | Constant | Electricity production | Water production | Source | Remarks
Cost data for the estimation of the income of 2017
Capital costs
RAV | USD, pl 2015 |  | 2941620.9614 | 173396.8716 | Production price model electricity & Production price model drinking water
Depreciation | USD, pl 2015 |  | 235844.5525 | 12086.4748 | Production price model electricity & Production price model drinking water
Operational cost
Operational costs (excl fuel costs) | USD, pl 2015 |  | 1511746.9859 | 265919.4464 | Production price model electricity & Production price model drinking water
Other income | USD, pl 2015 |  | 960 | 0 | Production price model electricity & Production price model drinking water
Data on volumes for the estimation of the production price of 2017
Estimated data for electricity production
Production volume by solar | kWh |  | 3200000 |  | Production price model electricity
Production volume by fuel | kWh |  | 10704000 |  | Production price model electricity
Total estimated production volume | kWh |  | 13904000
Production yield based on fuel | Liters/kWh |  | 0.269 |  | Production price model electricity
Estimated data for water production
Production volume water | m3 |  |  | 67344.48 | Production price model drinking water
Production yield based on electricity | kWh/m3 |  |  | 6.75 | Production price model drinking water
kVA-connection for water production | kVA |  |  | 85.5 | Rekenmodel STUCO 2018
Other data
Production price, excl fuel | USD/kWh |  | 0.13779 |  | Production price model electricity
Production price, incl fuel | USD/kWh |  | 0.26411 |  | Production price model electricity
Production price, excl electricity | USD/m3 |  |  | 4.2373 | Production price model drinking water
Production price, electricity component | USD/m3 |  |  | 1.9967 | Production price model drinking water
Fixed distribution tariff electricity July 1st 2017 | USD / KVA / month |  |  | 5.6236 | Distributietarieven Elektriciteit 2017
Variable distribution tariff electricity July 1st 2017 | USD/kWh |  |  | 0.30178 | Distributietarieven Elektriciteit 2017
Fixed electricity rate Jan 1st - June 30th (including 100 kWh) | USD/month |  |  | 19.6629 | Tariff 22 (assumption this is the rate for the electricity consumption to produce drinking water)
Variable electricity rate Jan 1st - June 30th (100 till 1000 kWh) | USD/kWh |  |  | 0.14045 | Tariff 22 (assumption this is the rate for the electricity consumption to produce drinking water)
Variable electricity rate Jan 1st - June 30th (> 1000 kWh) | USD/kWh |  |  | 0.12921 | Tariff 22 (assumption this is the rate for the electricity consumption to produce drinking water)
Fuel rate electricity Jan 1st - June 30th | USD/kWh |  |  | 0.21 | Tariff 22 (assumption this is the rate for the electricity consumption to produce drinking water)

## Realization of 2017
Data on the realization of 2017
Description data
In the annual account of STUCO the realised information is available. We process that information through an RAB-sheet and the OPEX-sheet. The results can be found here.
Description | Unit | Constant | Electricity production | Water production | Source | Remarks
Cost data for the realization of 2017
Capital costs
RAV | USD, pl 2017 |  | 2758298.9674 | 385532.9173 | RAV-model STUCO
Depreciation | USD, pl 2017 |  | 267935.1077 | 33363.1475 | RAV-model STUCO
Operational cost
Operational costs | USD, pl 2017 |  | 1405113.3742 | 364099.4101 | OPEX-model STUCO
Other income | USD, pl 2017 |  | 2517.892 | 257.9445 | OPEX-model STUCO
Data on volumes for the realization of 2017
Realized data on electricity production
Production volume by solar | kWh |  | 3754874.65 |  | Estimated electricity production 2019 (solar and fuel)
Production volume by fuel | kWh |  | 10249125.35 |  | Estimated electricity production 2019 (solar and fuel)
Total production volume | kWh |  | 14004000
Realized data for water production
Production volume water | m3 |  |  | 86939 | Estimated water production 2019

## Fuel costs
Data on fuel prices of 2017
Description data
This sheet contains all relevant information concerning fuel costs of STUCO in 2017.
Description | Unit | Constant | Electricity production | Water production | Source | Remarks
Data on used fuel per month
January | liters |  | 209464 |  | STUCO fuel prices 2017
February | liters |  | 208110 |  | STUCO fuel prices 2017
March | liters |  | 229917 |  | STUCO fuel prices 2017
April | liters |  | 231256 |  | STUCO fuel prices 2017
May | liters |  | 250789 |  | STUCO fuel prices 2017
June | liters |  | 240572 |  | STUCO fuel prices 2017
July | liters |  | 254743 |  | STUCO fuel prices 2017
August | liters |  | 272430 |  | STUCO fuel prices 2017
September | liters |  | 258031 |  | STUCO fuel prices 2017
October | liters |  | 272823 |  | STUCO fuel prices 2017
November | liters |  | 212979 |  | STUCO fuel prices 2017
December | liters |  | 178473 |  | STUCO fuel prices 2017
Data on fuel prices per month
November 2016 | USD/liter, pl 2016 |  | 0.56 |  | Informatieverzoek ACM
December 2016 | USD/liter, pl 2016 |  | 0.61 |  | Informatieverzoek ACM
January | USD/liter, pl 2017 |  | 0.63869 |  | STUCO fuel prices 2017
February | USD/liter, pl 2017 |  | 0.64401 |  | STUCO fuel prices 2017
March | USD/liter, pl 2017 |  | 0.63262 |  | STUCO fuel prices 2017
April | USD/liter, pl 2017 |  | 0.62363 |  | STUCO fuel prices 2017
May | USD/liter, pl 2017 |  | 0.61151 |  | STUCO fuel prices 2017
June | USD/liter, pl 2017 |  | 0.58623 |  | STUCO fuel prices 2017
July | USD/liter, pl 2017 |  | 0.5911 |  | STUCO fuel prices 2017
August | USD/liter, pl 2017 |  | 0.61899 |  | STUCO fuel prices 2017
September | USD/liter, pl 2017 |  | 0.65098 |  | STUCO fuel prices 2017
October | USD/liter, pl 2017 |  | 0.65695 |  | STUCO fuel prices 2017
November | USD/liter, pl 2017 |  | 0.70421 |  | STUCO fuel prices 2017
December | USD/liter, pl 2017 |  | 0.70305 |  | STUCO fuel prices 2017
Total electricity production per month
January | kWh |  | 1004000 |  | Email STUCO 23-10-2018
February | kWh |  | 972000 |  | Email STUCO 23-10-2018
March | kWh |  | 1097000 |  | Email STUCO 23-10-2018
April | kWh |  | 1107000 |  | Email STUCO 23-10-2018
May | kWh |  | 1215000 |  | Email STUCO 23-10-2018
June | kWh |  | 1238000 |  | Email STUCO 23-10-2018
July | kWh |  | 1314000 |  | Email STUCO 23-10-2018
August | kWh |  | 1369000 |  | Email STUCO 23-10-2018
September | kWh |  | 1137000 |  | Email STUCO 23-10-2018
October | kWh |  | 1297000 |  | Email STUCO 23-10-2018
November | kWh |  | 1184000 |  | Email STUCO 23-10-2018
December | kWh |  | 1073000 |  | Email STUCO 23-10-2018
Total electricity production in 2017 | kWh |  | 14007000
Data on electricity production by solar per month
January | kWh |  | 215634 |  | Email STUCO 23-10-2018
February | kWh |  | 226556 |  | Email STUCO 23-10-2018
March | kWh |  | 262142 |  | Email STUCO 23-10-2018
April | kWh |  | 258324 |  | Email STUCO 23-10-2018
May | kWh |  | 293575 |  | Email STUCO 23-10-2018
June | kWh |  | 357299 |  | Email STUCO 23-10-2018
July | kWh |  | 388147 |  | Email STUCO 23-10-2018
August | kWh |  | 373910 |  | Email STUCO 23-10-2018
September | kWh |  | 235395 |  | Email STUCO 23-10-2018
October | kWh |  | 286102 |  | Email STUCO 23-10-2018
November | kWh |  | 426425 |  | Email STUCO 23-10-2018
December | kWh |  | 443585 |  | Email STUCO 23-10-2018
Total electricity production by solar in 2017 | kWh |  | 3767094
Data on electricity production by fuel per month
January | kWh |  | 788366
February | kWh |  | 745444
March | kWh |  | 834858
April | kWh |  | 848676
May | kWh |  | 921425
June | kWh |  | 880701
July | kWh |  | 925853
August | kWh |  | 995090
September | kWh |  | 901605
October | kWh |  | 1010898
November | kWh |  | 757575
December | kWh |  | 629415
Total electricity production by fuel in 2017 | kWh |  | 10239906

## CPI & WACC
CPI & WACC
Description data
This sheet shows the CPI and WACC used.
Explanatory notes
The development of the CPI of Q3 year T and Q3 year T-1 will be used as the estimated inflation for the year T+1. The estimated inflation is rounded to one decimal.
As of the development of the CPI between Q3 2017 and Q3 2018, the 2017 = 100 serie is used. Before this, the 2010 = 100 serie has been used.
Last update input CBS: November 28, 2018
Description | Unit | Constant | Row total |  |  |  | Source | Comments
CPI |  |  |  | Bonaire | Saba | Sint Eustatius
Estimated inflation 2016 | % |  |  | -0.9% | -0.4% | -0.5% | Caribisch Nederland CPI (2010=100)
Estimated inflation 2017 | % |  |  | 0.6% | 0.2% | -0.9%
Estimated inflation 2018 | % |  |  | 0.6% | -1.3% | 2.1%
Estimated inflation 2019 | % |  |  | 3.5% | 4.4% | 1.1% | Caribisch Nederland CPI (2017=100)
WACC |  |  |  | Electricity production & distribution | Electricity production only | Electricity & water combined
WACC 2017 | % |  |  | 6.57% | 6.48% | 6.74% | ACM WACC decision 2016
WACC 2018 | % |  |  | 6.49% | 6.4% | 6.66%
WACC 2019 | % |  |  | 6.41% | 6.32% | 6.58%
%

## Volume-effect correction E
Volume-effect correction Electricity
Description calculation
On this sheet the ACM calculates the volume-effect correction for electricity production in 2017.
Description | Unit | Constant | Electricity production | Water production | Remarks
Relevant data for volume-effect correction
Estimated production volume
Production volume by solar | kWh |  | 3200000
Production volume by fuel | kWh |  | 10704000
Total production volume | kWh |  | 13904000
Realised production volume
Production volume Solar | kWh |  | 3754874.65
Production volume fuel | kWh |  | 10249125.35
Total production volume | kWh |  | 14004000
Data from production price model
Production price, excl fuel | USD/kWh |  | 0.13779
Calculation volume correction effect
Estimated income vs. realized income
Estimated income | USD, pl 2017 |  | 1915820.5842
Realized income | USD, pl 2017 |  | 1929599.5009
Volume-effect correction | USD, pl 2017 |  | -13778.9167 |  | Negative amount leads to a decrease of the income of STUCO for 2019.

## Volume-effect correction W
Volume-effect correction Water
Description calculation
On this sheet the ACM calculates the volume-effect correction for water production in 2017.
Description | Unit | Constant | Electricity production | Water production | Remarks
Relevant data for volume-effect correction
Estimated production volume
Total production volume | m3 |  |  | 67344.48
Realised production volume
Total production volume | m3 |  |  | 86939
Data from production price model
Production price, excl electricity | USD/m3 |  |  | 4.2373
Calculation volume correction effect
Estimated income vs. realized income
Estimated income | USD, pl 2017 |  |  | 285361.9619
Realized income | USD, pl 2017 |  |  | 368390.7516
Volume-effect correction | USD, pl 2017 |  |  | -83028.7897 | Negative amount leads to a decrease of the income of STUCO for 2019.

## Profit sharing correction
Profit sharing correction
Description calculation
On this sheet the ACM calculates the profit sharing add-on.
Description | Unit | Constant | Electricity production | Water production | Remarks
Relevant data for profit sharing correction
Estimated costs
Capital cost
RAV | USD, pl 2015 |  | 2941620.9614 | 173396.8716
Depreciation | USD, pl 2015 |  | 235844.5525 | 12086.4748
Operational cost
Operational costs | USD, pl 2015 |  | 1511746.9859 | 265919.4464
Other income | USD, pl 2015 |  | 960 | 0
Realized costs
Capital cost
RAV | USD, pl 2017 |  | 2758298.9674 | 385532.9173
Depreciation | USD, pl 2017 |  | 267935.1077 | 33363.1475
Operational cost
Operational costs | USD, pl 2017 |  | 1405113.3742 | 364099.4101
Other income | USD, pl 2017 |  | 2517.892 | 257.9445
Other parameters
WACC 2017 | % | 6.74%
Estimated inflation 2016 | % | -0.5%
Estimated inflation 2017 | % | -1%
Profit sharing-percentage | % | 50% |  |  | As set in the ACM Decision with case number 16.0635.53
Calculation profit sharing
Estimated costs for 2017
Capital costs (RAV*WACC + depreciation) | USD, pl 2015 |  | 434109.8053 | 23773.4239
Capital costs | USD, pl 2017 |  | 427619.8637 | 23418.0113
Operational costs | USD, pl 2017 |  | 1489146.3685 | 261943.9506
Other income | USD, pl 2017 |  | 945.648 | 0
Total estimated costs for 2017 | USD, pl 2017 |  | 1915820.5842 | 285361.9619
Realized costs for 2017
Capital costs (RAV*WACC+ deprecation) | USD, pl 2017 |  | 453844.4581 | 59348.0662
Operational costs | USD, pl 2017 |  | 1405113.3742 | 364099.4101
Other income | USD, pl 2017 |  | 2517.892 | 257.9445
Total realized costs for 2017 | USD, pl 2017 |  | 1856439.9403 | 423189.5318
Profit sharing
Difference between realized and estimated costs | USD, pl 2017 |  | -59380.6439 | 137827.5699 | Positive amount means realized costs are higher than estimated costs.
Profit sharing add-on | USD, pl 2017 |  | -29690.3219 | 68913.7849 | Add-on for production price 2019.
Note on E33: Based on the estimation inflation 2017 as calculated in the Production price models for the determination of the tariffs in 2017.

## Fuel price correction
Fuel price correction
Description calculation
On this sheet the ACM calculates the fuel price correction for electricity production.
Description | Unit | Constant | Electricity production | Water production | Remarks
Relevant data for fuel price correction correction
Data for calculation of monthly fuel part
Production yield based on field | Liter/kWh |  | 0.269
Estimated production by fuel | kWh |  | 10704000
Total estimated production for 2017 | kWh |  | 13904000
Expected share of production by fuel in total production | % |  | 76.99%
Fuel price per month
November 2016 | USD/liter, pl 2016 |  | 0.56
December 2016 | USD/liter, pl 2016 |  | 0.61
January 2017 | USD/liter, pl 2017 |  | 0.63869
February 2017 | USD/liter, pl 2017 |  | 0.64401
March 2017 | USD/liter, pl 2017 |  | 0.63262
April 2017 | USD/liter, pl 2017 |  | 0.62363
May 2017 | USD/liter, pl 2017 |  | 0.61151
June 2017 | USD/liter, pl 2017 |  | 0.58623
July 2017 | USD/liter, pl 2017 |  | 0.5911
August 2017 | USD/liter, pl 2017 |  | 0.61899
September 2017 | USD/liter, pl 2017 |  | 0.65098
October 2017 | USD/liter, pl 2017 |  | 0.65695
November 2017 | USD/liter, pl 2017 |  | 0.70421
December 2017 | USD/liter, pl 2017 |  | 0.70305
Total realized production per month
January 2017 | kWh |  | 1004000
February 2017 | kWh |  | 972000
March 2017 | kWh |  | 1097000
April 2017 | kWh |  | 1107000
May 2017 | kWh |  | 1215000
June 2017 | kWh |  | 1238000
July 2017 | kWh |  | 1314000
August 2017 | kWh |  | 1369000
September 2017 | kWh |  | 1137000
October 2017 | kWh |  | 1297000
November 2017 | kWh |  | 1184000
December 2017 | kWh |  | 1073000
Realized production by fuel per month
January 2017 | kWh |  | 788366
February 2017 | kWh |  | 745444
March 2017 | kWh |  | 834858
April 2017 | kWh |  | 848676
May 2017 | kWh |  | 921425
June 2017 | kWh |  | 880701
July 2017 | kWh |  | 925853
August 2017 | kWh |  | 995090
September 2017 | kWh |  | 901605
October 2017 | kWh |  | 1010898
November 2017 | kWh |  | 757575
December 2017 | kWh |  | 629415
Calculation income from fuel part of the production price
Monthly fuel part of the production price
The fuel part of the production price in month t is based on the fuel costs in month t-2.
January 2017 | USD/kWh |  | 0.11597
February 2017 | USD/kWh |  | 0.12632
March 2017 | USD/kWh |  | 0.13227
April 2017 | USD/kWh |  | 0.13337
May 2017 | USD/kWh |  | 0.13101
June 2017 | USD/kWh |  | 0.12915
July 2017 | USD/kWh |  | 0.12664
August 2017 | USD/kWh |  | 0.1214
September 2017 | USD/kWh |  | 0.12241
October 2017 | USD/kWh |  | 0.12819
November 2017 | USD/kWh |  | 0.13481
December 2017 | USD/kWh |  | 0.13605
Monthly income from fuel part
January 2017 | USD, pl 2017 |  | 116434.1457
February 2017 | USD, pl 2017 |  | 122787.6595
March 2017 | USD, pl 2017 |  | 145095.1268
April 2017 | USD, pl 2017 |  | 147638.5452
May 2017 | USD, pl 2017 |  | 159174.85
June 2017 | USD, pl 2017 |  | 159884.5502
July 2017 | USD, pl 2017 |  | 166400.7763
August 2017 | USD, pl 2017 |  | 166199.3407
September 2017 | USD, pl 2017 |  | 139181.9739
October 2017 | USD, pl 2017 |  | 166258.8397
November 2017 | USD, pl 2017 |  | 159616.9124
December 2017 | USD, pl 2017 |  | 145978.2237
Total income fuel part | USD, pl 2017 |  | 1794650.944
Calculation fuel costs for electricity production
Monthly costs for electricity production by fuel
January 2017 | USD, pl 2017 |  | 135446.4864
February 2017 | USD, pl 2017 |  | 129140.0108
March 2017 | USD, pl 2017 |  | 142070.6747
April 2017 | USD, pl 2017 |  | 142370.9669
May 2017 | USD, pl 2017 |  | 151570.1334
June 2017 | USD, pl 2017 |  | 138882.6507
July 2017 | USD, pl 2017 |  | 147217.0882
August 2017 | USD, pl 2017 |  | 165691.7137
September 2017 | USD, pl 2017 |  | 157883.6556
October 2017 | USD, pl 2017 |  | 178644.3761
November 2017 | USD, pl 2017 |  | 143508.8415
December 2017 | USD, pl 2017 |  | 119035.5681
Total costs fuel | USD, pl 2017 |  | 1751462.166
Calculation fuel price correction
Total income to cover fuel part for electricity production | USD, pl 2017 |  | 1794650.944
Total costs fuel for electricity production | USD, pl 2017 |  | 1751462.166
Fuel price correction | USD, pl 2017 |  | -43188.7781

## Electricity price correction
Electricity price correction
Description calculation
On this sheet the ACM calculates the correction for the costs of the electricity that is needed to produce drinking water.
Distribution tariffs for electricity have not been set for the first half of 2017 by the ACM. As of July 1st, the ACM has set a variable tariff and a fixed tariff for electricity.
The difference between the energy-component in the production price of drinking water and the realization of the electicity costs based on the tariffs in 2017 for electricity is calculated.
Description | Unit | Constant | Electricity production | Water production | Remarks
Relevant data for energy component correction
Production yield based on electricity | kWh/m3 |  |  | 6.75
Production price, electricity component | USD/m3 |  |  | 1.9967
Total production drinking water 2017 | m3 |  |  | 86939
kVA-connection for water production | kVA |  |  | 85.5
Fixed distribution tariff electricity July 1st 2017 | USD/kVA/month |  |  | 5.6236
Variabel distribution tariff electricity July 1st 2017 | USD/kWh |  |  | 0.30178
Fixed electricity rate Jan 1st - June 30th (including 100 kWh) | USD/month |  |  | 19.6629
Variable electricity rate Jan 1st - June 30th (100 till 1000 kWh) | USD/kWh |  |  | 0.14045
Variable electricity rate Jan 1st - June 30th (> 1000 kWh) | USD/kWh |  |  | 0.12921
Fuel rate electricity Jan 1st - June 30th | USD/kWh |  |  | 0.21
Months in 2017 without a regulated electricity tariff | # |  |  | 6 | Concerns the months January through June 2017.
Months in 2017 with a regulated electricity tariff | # |  |  | 6 | Concerns the months July through December 2017.
Calculation electricity costs 1st half 2017
Production drinking water 1st half 2017 | m3 |  |  | 43469.5
Required amount of electricity to produce this amount | kWh |  |  | 293419.125
Fixed Electricity costs for production drinking water first half 2017 | USD |  |  | 117.9774
Variable electricity costs first half 2017 | USD |  |  | 37896.8291
Fuel rate electricity first half 2017 | USD |  |  | 61618.0163
Total Electricity costs for production drinking water first half 2017 | USD |  |  | 99632.8228
Calculation electricity costs 2nd half 2017
Production drinking water 2nd half 2017 | m3 |  |  | 43469.5
Required amount of electricity to produce this amount | kWh |  |  | 293419.125
Fixed electricity costs 2nd half of 2017 | USD |  |  | 2884.8913
Variable electricity costs 2nd half of 2017 | USD |  |  | 88547.0727
Total Electricity costs for production drinking water 2nd half 2017 | USD |  |  | 91431.964
Calculation income 2017 to cover electricity costs
Total production drinking water 2017 | m3 |  |  | 86939
Production price drinking water (energy component) | USD/m3 |  |  | 1.9967
Total income to cover electricity costs | USD, pl 2017 |  |  | 173591.2087
Calculation electricity component correction
Total income to cover electricity part for drinking water production | USD, pl 2017 |  |  | 173591.2087
Total costs for electricity for drinking water production | USD, pl 2017 |  |  | 191064.7868
Electricity price correction | USD, pl 2017 |  |  | 17473.5781 | STUCO received insufficient income to cover the electricity costs for the production of drinking water. This will be corrected by an add-on to the income of STUCO in 2019.
Note on H31: 6 months * 100 kWh is included in the fixed electricity costs, 6 months * 900 kWh is priced at the high variable electricity rate. The kWh usage above 1000 kWh in these 6 months is priced at the low variable electricity rate.