## Cover sheet
Cover sheet
About this file
Case number | ACM/23/181660
File title | Berekening tarieven STUCO 2025
Subtitle
Belongs to decision(s): | Beschikking productieprijs elektriciteit 2025 STUCO Beschikking productieprijs drinkwater 2025 STUCO Beschikking distributietarieven elektriciteit 2025 STUCO Beschikking distributietarieven drinkwater 2025 STUCO
Reference number of decision(s) | ACM/UIT/625869 ACM/UIT/625870 ACM/UIT/625874 ACM/UIT/625875
Relationship to other calculation files | This file uses the output from the OPEX model, RAB model and the Fuel model
Other remarks
This calculation is developed in the standardized format used by the Energy Department of ACM (based on version 5, june 2021)
About the status of this file
Final version? (y/n) | Yes
When final, will this file be published? | Yes
Is this file legally part of the decision(s) listed above? (y/n) | Yes
When published, doe this file contain business-confidential information? (y/n) | No
Other remarks
Objections and appeals can be filed against the decision to which this file belongs.
Disclaimer
If there are any substantive differences between the calculation in this file and the calculation that follows from the relevant decision, the decision's calculation is authentic.
[ END OF SHEET ]

## Explanation
Explanatory notes to this file
Explanation about how this file works
This document contains the calculation of electricity and drinking water tariffs for 2025. These tariffs are based on cost estimates for STUCO for 2025 and the results of profit sharing for 2023.
ACM bases cost estimates for 2025 on realized costs in 2023, as found in the financial statements of STUCO.
Profit sharing and cost estimates are both calculated in this file. In previous years, profit sharing was a separate file.
Legend for the cell and sheet colors
Cell colors (for numbers) | Description
123 | Data and input (source required)
123 | Value that is taken from another sheet or cell without calculation
246 | Calculated value
369 | Result/calculated value that is used in another sheet
Empty cell (not zero) used in a formula range
Special attention:
385 | Value or calculation that needs special attention or explanation
386.4159 | Input or calculation that is not yet up-to-date or work in progress
Sheet tab colors
Model sheets
Result | Sheet with result/output
Data | Sheet with input
Calculation | Sheet with calculations
Calculation | Sheet that is not yet up-to-date/work in progress
Explanatory sheets
Input --> | Empty sheet used for indexing
Explanation | Standardized sheets with general information about this file
[ END OF SHEET ]
Note on B22: At all times a (group of) pink cell(s) needs an explanantion on its special nature. This explanation will be added through this remark box.

## Sources and specifics
Source overview and specific applications
Source overview
in the overview below, ACM lists the sources that are used for data and calculations in this file.
Each input sheet contains a column 'Source', in which the sources are referred to by their shortened name. These sources are further explained in the table below.
No. | Shortened name | External file name | Additional information about this source | Other remarks
| As referred to in Source column | Exact file name | Date received, email, URL, file location
1 | CPI CBS |  | https://opendata.cbs.nl/statline/#/CBS/nl/dataset/84046NED/table
2 | Wettelijke rente CNL |  | https://wetten.overheid.nl/BWBR0030649/2011-11-18
3 | ACM WACC decision 2023-2025 | Besluit WACC Caribisch Nederland 2023-2025 | https://www.acm.nl/nl/publicaties/wacc-elektriciteit-en-drinkwater-caribisch-nederland-2023-2025
4 | ACM Method decision 2020-2025 | Methodebesluit elektriciteit en drinkwater Caribisch Nederland 2020-2025 | Methodebesluit elektriciteit en drinkwater Caribisch Nederland 2020-2025 ¦ ACM.nl
5 | Tariff model 2018 | Rekenmodel_stuco_2018 | Rekenmodel bij beschikking productieprijs en distributietarieven elektriciteit en drinkwater 2018 STUCO (Caribisch Nederland) ¦ ACM.nl
6 | Tariff model 2023 | Berekening tarieven STUCO 2023 | Beschikking productieprijs elektriciteit 2023 Sint Eustatius STUCO ¦ ACM.nl
7 | Tariff model July 2023 | Berekening variabel gebruikstarief STUCO 1 juli 2023 | Beschikking variabel tarief elektriciteit 1 juli 2023 St. Eustatius ¦ ACM.nl
8 | Tariff model 2024 | Berekening tarieven STUCO 2024 | Beschikking productieprijs elektriciteit 2024 Sint Eustatius STUCO ¦ ACM.nl
9 | Tariff model July 2024 | Berekening variabel gebruikstarief STUCO 1 juli 2024 | Beschikking variabel tarief elektriciteit 1 juli 2024 St. Eustatius (Caribisch Nederland) ¦ ACM.nl
10 | Tariff model 2023 - updated WACC | Berekening tarieven STUCO 2023
11 | ACM updated WACC 2023 | Besluit WACC Caribisch Nederland 2023-2025
12 | ACM calculation lost subsidy income | Berekening gederfde subsidies STUCO 2023
13 | OPEX-model | OPEX Model STUCO 2024
14 | RAB-model | RAB model STUCO 2024
15 | Fuel model | Fuel model STUCO 2024
16 | STUCO Water usage analysis 2016 | Request 8 (8144 STUCO Water usage analysis for 2016) | E-mail sent by STUCO on November 27, 2017.
17 | Budget 2023 | 02. STUCO BUDGET 2023 FINAL d.d. Feb 2 2023 | E-mail sent by STUCO on November 22 2023
18 | Subsidy grant phase 3 | 17. Subsidieverlening fase 3 van de zonneweide op Sint Eustatius | E-mail sent by STUCO on November 22 2023
19 | Electricity connections 2023 | 7. STUCO Electricity connections by KVA in 2022 | E-mail sent by STUCO on September 2, 2024.
20 | Net losses electricity 2023 | 13. A detailed (monthly) overview of the net losses of elec WP 8143 (A) Electricity Usage Summary Revenue Analysis 2023 (EY 35 UA) | E-mail sent by STUCO on September 2, 2024.
21 | Water connections 2023 | 14. STUCO Drinking Water Connections for 2023 | E-mail sent by STUCO on September 2, 2024.
22 | New water connnections 2023 | 15. STUCO New Drinking Water Connections for 2023 | E-mail sent by STUCO on September 2, 2023.
23 | Water production 2023 | 17. An overview of the production of drinking Water in M3 in 2023 | E-mail sent by STUCO on September 2, 2024.
24 | Distributed water 2023 | 18. An Overview of the distributed drinking Water per category in 2023 per month | E-mail sent by STUCO on September 2, 2024.
25 | Net losses water 2023 | 19. A detailed (monthly) overview of the net losses of water WP 8144 (A) Water Summary Revenue Analysis 2023 (EY 39 UA) | E-mail sent by STUCO on September 2, 2024.
26 | Electricity for water production 2023 | 20. STUCO Overview of the electricity used for the Production and Distribution of drinking water in 2023 | E-mail sent by STUCO on September 2, 2024.
27 | Projection kVA 2025 | 21. STUCO Electricity connections by KVA in projection 2025 | E-mail sent by STUCO on September 3, 2024.
28 | Net losses electricity 2025 | 24. STUCO Estimation of Net Losses Electricity 2025 (WP 8143 (A) Electricity Usage Summary Revenue Analysis 2023 (EY E1)) | E-mail sent by STUCO on September 3, 2024.
29 | Water connections 2025 | 26. STUCO Estimation of Drinking Water Connections for 2025 | E-mail sent by STUCO on September 3, 2024.
30 | Estimated water production 2025 | 27. STUCO Estimated Overview production Water in M3 in 2025 (4. B3 PRODUCTION STUCO production of Water in M3 for 2023) | E-mail sent by STUCO on September 3, 2024.
31 | Distributed water 2025 | 28. STUCO estimation of distributed Water M3 per category for 2025 | E-mail sent by STUCO on September 3, 2024.
32 | Electricity production 2023 | 10. STUCO Overview of Production of Electricity per month in 2024UPDATED | E-mail sent by STUCO on October 6, 2024.
33 | Net losses water 2025 | 30. STUCO Estimation of Net Losses of drinking water in 2025 WP 8144 (A) Water Summ Rev Analysis UPDATED | E-mail sent by STUCO on October 6, 2024.
34 | Fuel Invoice Delta Petroleum 20240727 | 11. STUCO FUEL PURCHASES DELTA 7 | E-mail sent by STUCO on October 17, 2024.
35 | Estimated electricity production 2025 | 22. STUCO Overview of Production of Electricity per month in 2025 FINAL dd 16-Oct-2024 | E-mail sent by STUCO on October 17, 2024.
Explanation of the use of specific Excel-applications and other details
In its calculation files, ACM seeks to use simple and easy-to-follow calculations as much as possible, and seeks to avoid the use of complex formulas or specific applications.
If ACM does use cell or range references, macros, or other more complex functions in Excel, these will be explained on this sheet.
[ END OF SHEET ]

## Result
Result
Description
The outcome of the tariff calculations is displayed on this sheet.
Description | Unit | Constant | Applicable period | Remarks
Overview tariffs electricity 2025
Production price
Production price excl fuel | USD/kWh, pl 2025 | 0.1642 | 2025 whole year
Fuel component January 2025 | USD/kWh, pl 2025 | 0.11166 | January 2025
Production price incl fuel | USD/kWh, pl 2025 | 0.2758 | 2025 whole year
Variable distribution tariff
Variable distribution tariff | USD/kWh, pl 2025 | 0.2961 | January - June 2025
Fixed distribution tariff per kVA category
Income per kVA per month |  | 8.8277
3,2 | USD/month, pl 2025 | 28.2487 | 2025 whole year
7,7 | USD/month, pl 2025 | 67.9735 | 2025 whole year
11,0 | USD/month, pl 2025 | 97.105 | 2025 whole year
13,9 | USD/month, pl 2025 | 122.3522 | 2025 whole year
13,3 | USD/month, pl 2025 | 117.4087 | 2025 whole year
19,0 | USD/month, pl 2025 | 167.7267 | 2025 whole year
23,9 | USD/month, pl 2025 | 211.3357 | 2025 whole year
30,4 | USD/month, pl 2025 | 268.3628 | 2025 whole year
38,0 | USD/month, pl 2025 | 335.4535 | 2025 whole year
47,5 | USD/month, pl 2025 | 419.3169 | 2025 whole year
60,8 | USD/month, pl 2025 | 536.7256 | 2025 whole year
76,0 | USD/month, pl 2025 | 670.907 | 2025 whole year
85,5 | USD/month, pl 2025 | 754.7704 | 2025 whole year
95,0 | USD/month, pl 2025 | 838.6337 | 2025 whole year
119,7 | USD/month, pl 2025 | 1056.6785 | 2025 whole year
175,0 | USD/month, pl 2025 | 1544.8516 | 2025 whole year
200,0 | USD/month, pl 2025 | 1765.5447 | 2025 whole year
Tariff for reconnection
Tariff for reconnection | USD, pl 2025 | 40 | 2025 whole year | The reconnection fee is set fixed at USD 40.
Tariff for connection
Connection 3,2 and 7,7 kVA (incl. up to 25 meters) | USD, pl 2025 | 314.9052 | 2025 whole year
Tariff for road crossing for 3,2 kVA connection, per meter | USD, pl 2025 | 195.4296 | 2025 whole year
Tariff for road crossing for 7,7 kVA connection, per meter | USD, pl 2025 | 212.1653 | 2025 whole year
Overview tariffs drinking water 2025
Production price
Production price per m3 (incl electricity costs) | USD/m3, pl 2025 | 6.296 | 2025 whole year
Variable distribution tariff
Variable distribution tariff water 2025 | USD/m3, pl 2025 | 11.3 | 2025 whole year
Fixed distribution tariff
Fixed distribution tariff | USD/month, pl 2025 | 72.6657 | 2025 whole year
Tariff for reconnection 2025
Tariff for reconnection | USD, pl 2025 | 40 | 2025 whole year | The reconnection fee is set fixed at USD 40.
New connection tariff 2025
Standard connection (incl. up to 25 meters) | USD, pl 2025 | 281.4014 | 2025 whole year
Tariff for road crossing for standard connection, per meter | USD, pl 2025 | 195.4296 | 2025 whole year
Distribution by truck
Price distribution by truck | USD/m3, pl 2025 | 15.477 | 2025 whole year

## Input -->
This sheet seperates different types of sheets and is intentionally left blank

## Parameters
Parameters
Description data
This sheet displays the percentages used for the CPI, WACC, legal fixed interest rate and the profit sharing.
Explanatory notes
The development of the CPI of Q3 year T and Q3 year T-1 will be used as the estimated inflation for the year T+1. The estimated inflation is rounded to one decimal.
As of the development of the CPI between Q3 2017 and Q3 2018, the 2017 = 100 serie is used. Before this, the 2010 = 100 serie has been used.
Last update input CBS: November 12, 2024.
Description | Unit | Constant | Row total | Source | Remarks
Data for indexation
CPI |  |  |  |  | ACM uses CPI to adjust estimated operational costs and tariffs for connection activities to price level 2025.
Estimated inflation 2024 | % | 0% |  | CPI CBS | The CBS has changed the CPI for Statia for Q3 2023, therefore the value for estimated inflation 2024 in this model differs from the value for estimated inflation 2024 in the tariff model for 2024.
Estimated inflation 2025 | % | 3.1% |  | CPI CBS
Legal interest rate |  |  |  |  | ACM uses the legal fixed interest rate to adjust corrections to price level 2025.
Wettelijke rente CNL ('legal fixed interest rate') | % | 3% |  | Wettelijke rente CNL
Compounded legal fixed interest rate over 2023 - 2025 | % | 6.09%
WACC
WACC 2023 - adjusted risk free rate |  |  |  |  | ACM uses the adjusted WACC to correct for the risk free rate
Adjusted WACC 2023 - Electricity production |  | 8.23% |  | ACM updated WACC 2023
Adjusted WACC 2023 - Electricity distribution |  | 7.18% |  | ACM updated WACC 2023
Adujusted WACC 2023 - Water production and distribution |  | 8.11% |  | ACM updated WACC 2023
WACC 2025 |  |  |  |  | ACM uses WACC 2025 to calculate estimated cost of capital 2025.
WACC 2025 - Electricity production | % | 6.45% |  | ACM WACC decision 2023-2025
WACC 2025 - Electricity distribution | % | 5.69% |  | ACM WACC decision 2023-2025
WACC 2025 - Water production and distribution | % | 6.36% |  | ACM WACC decision 2023-2025
Profit-sharing percentage
Profit-sharing percentage | % | 50% |  | ACM method decision 2020-2025
[ END OF SHEET ]

## Historical data
Historical data
Description data
This sheet displays historical data over 2023. This data comes from Historic data that ACM recieved from STUCO.
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Source | Remarks
Volumes data 2023
Realized volumes
Unit | (see column) |  |  | kWh | kVA | m3 | connections | m3
Realized volume 2023 | (see column) |  |  | 17092100 | 18667.0558 | 193569 | 1113.5 | 1047.55 | Electricity production 2023, "Elec Meter readings Month(2023)", cell W26; Electricity connections 2023, "2023", column O; Water production 2023, "2023 Prod of Water", cell O9; Water connections 2023, "2023 connections", row 5; Distributed water 2023, "2023 Distr of Water", N6
Production by GTI | kWh |  |  | 1486135.2 |  |  |  |  | Electricity production 2023, sheet "Elec Meter readings Month(2023), cell W45
Production excluding GTI | kWh |  |  | 15605964.8 | [5 empty] | Costs of emergency production are renumerated separately. Therefore, production by GTI is omitted from realized volume for profit sharing and for the income level 2025. Production by GTI is included in the volume correction, because electricity produced by GTI was distributed to consumers.
Network losses 2023 | % |  |  |  | 8.426% |  | 38.81% |  | Net losses electricity 2023, "8143 Elec usage 2023" cell O10; Net losses water 2023, "8144Water usage 2023 Correc", cell O18
Income associated with new water connections
Number of new connections in 2023 | # | [5 empty] | 178 |  | New water connections 2023, "2023 New Water Connections", cell N5
Tariff for new connections in 2023 | USD, pl 2023 | [5 empty] | 275.976 |  | Tarif model STUCO 2023, sheet "Tariffs drinking water", cell O69. | Excluding mark-up for road crossings.
Income associated with new connections | USD, pl 2023 | [5 empty] | 49123.7233 |  |  | This calculation is added, since the income from new drinking water connections is lower than the associated costs, due to a specific tariff arrangement.
Delivery of drinking water by truck 2023
Realisation of water distributed by line in 2023 | m3 | [5 empty] | 189131.06 |  | Distributed water 2023, "2023 Distr of Water", cell N5
Percentage water distribution by truck 2023 | % | [6 empty] | 0.5508%
Data for production yield
Production yield electricity
Realized liters of fuel consumed for production in 2023 | liters |  |  | 3050328 |  |  |  |  | Fuel model, sheet "Data production"; sum of cells J15:U15
Realized production volume by fuel in 2023 | kWh |  |  | 11034469 |  |  |  |  | Fuel model, sheet "Data production"; sum of cells J16:U16
Production yield drinking water
Energy consumption for drinking water production | kWh |  |  |  |  | 885742 |  |  | Electricity for water production 2023, sum of row 5, 9 and 10. | Assets in row 5, 9 and 10 are related to water production (Source: e-mail sent by STUCO on September 27 2023)
Fuel data
Corrections as calculated in fuel model
Fuel cost correction 2023 | USD, pl 2023 |  | -288706.9316 | -288706.9316 |  |  |  |  | Fuel model, sheet "Result", cell H12
Fuel component correction May - October 2024 | USD, pl 2024 |  | -61219.7269 |  | -61219.7269 |  |  |  | Fuel model, sheet "Result", cell H13
Most recent fuel price
Most recent fuel price | USD/gallon | 2.9246 | [6 empty] | Fuel Invoice Delta Petroleum 20240727
US gallon to liter |  | 3.7854
Most recent fuel price | USD/liter | 0.7726
[ END OF SHEET ]
Note on M15: Sum of connections per category multiplied by kVA of that category. Connections per category is the average number of connections in that category for the period December 31 2022 to December 31 2023.
Note on O15: Total connections billed in 2023 divided by 12

## Estimates for 2025
Estimates for 2025
Description data
On this sheet the ACM imports estimates for 2025. This data comes from Forward looking information that ACM recieved from STUCO.
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Source | Remarks
Estimated production and distribution data
Estimated production data water
Estimated production volume 2025 | m3 |  |  |  |  | 201600 |  |  | Estimated water production 2025, "2025 Prod of Water", cell O9.
Estimated distribution data
Estimated network losses 2025 in % | % |  |  |  | 11% |  | 40% |  | Net losses electricity 2025, "8143Elec usage 2025", cell O10; Net losses water 2025 cell O20
Estimated production data electricity
Estimated production by solar in 2025 | kWh |  |  | 8409000 |  |  |  |  | Estimated electricity production 2025, "Elec Meter readings Month(2025)", cell W59
Estimated production by fuel in 2025 | kWh |  |  | 9212400 |  |  |  |  | Estimated electricity production 2025, "Elec Meter readings Month(2025)", cell W44
Estimated total production in 2025 | kWh |  |  | 17621400
Estimated total production first half 2025 | kWh |  |  | 8282058 |  |  |  |  | Estimated electricity production 2025, "Elec Meter readings Month(2025)", sum of I61:N61
Estimated share of production with fuel in 2025 | % |  |  | 52.28%
Estimated delivery of drinking water by truck 2025
Estimated drinking water delivered by truck in 2025 | m3 | [6 empty] | 2016 | Distributed water 2025, "2025 Distr of Water", cell N6.
Estimated percentage of drinking water delivered by truck in 2025 | % | [6 empty] | 1%
Estimated production yield
Estimated production yield electricity
Realized liters of fuel consumed for production in 2023 | liters |  |  | 3050328
Realized production volume by fuel in 2023 | kWh |  |  | 11034469
Estimated fuel efficiency 2025 | liters/kWh |  |  | 0.27644
Estimated production yield drinking water
Realized water production in 2023 | m3 |  |  |  |  | 193569
Energy consumption for drinking water production | kWh |  |  |  |  | 885742
Production yield based on electricity | kWh/m3 |  |  |  |  | 4.5758
Tariff categories and volumes 2025
Number of connections per kVA |  |  |  |  | # connections |  |  |  |  | For electricity, the tariff category is determined by the kVA of the connection.
3.2 | # |  |  |  | 207.4167 |  |  |  | Projection kVA 2025, row O | Connections for internal use are added to the total number of connections for their kVA category
7.7 | # |  |  |  | 1487.5385
11 | # |  |  |  | 124
13.86 | # |  |  |  | 43
13.3 | # |  |  |  | 27
19 | # |  |  |  | 26.8333
23.94 | # |  |  |  | 40
30.4 | # |  |  |  | 14
38 | # |  |  |  | 11
47.5 | # |  |  |  | 14
60.8 | # |  |  |  | 4
76 | # |  |  |  | 5
85.5 | # |  |  |  | 4
95 | # |  |  |  | 2
119.7 | # |  |  |  | 1
175 | # |  |  |  | 0
200 | # |  |  |  | 3
Total estimated volume | kVA |  |  |  | 19287.793
Number of connections for water
Expected number of connections in 2025 | # | [5 empty] | 1225.563 |  | Water connections 2025, "2025 Connections", O5.
Total estimated volume per category
Unit | (see column) |  |  | kWh | kVA | m3 | connections | m3
Estimated volume 2025 | (see column) |  |  | 17621400 | 19287.793 | 201600 | 1225.563 | 2016
[ END OF SHEET ]

## Data ACM
Data ACM
Description data
This sheet displays data sourced from ACM tariff models.
Explanatory notes
Data from tariff model 2023 is used for the volume correction and profit sharing
Data from tariff model 2024 is used for the energy cost correction and tariffs associated with connection activities.
Additional costs related to new water connections is calculated using data from tariff model 2016.
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Source | Remarks
Data from tariff model 2023 with adjusted WACC
Estimated fixed/variable costs from tariffs 2023, adjusted for WACC
Total estimated fixed costs 2023 | USD, pl 2023 |  |  | 1849946.1201 | 642890.503 | 625054.1341 | 677186.4014 | 12559.0997 | Tariff model 2023 - updated WACC, sheet "Fixed-variable costs", row 65.
Total estimated regular variable capital costs 2023 (excl. addition new water connections) | USD, pl 2023 | [5 empty] | 201661.4147 |  | Tariff model 2023 - updated WACC, sheet "Fixed-variable costs", row 66.
Total estimated variable costs 2023 per unit (excl. addition for network growth) | USD, pl 2023 / # |  |  | 0.018215 | 23.7461 | 0.33153 | 269.213 | 4.5522 | Tariff model 2023 - updated WACC, sheet "Fixed-variable costs", row 67-68.
Extra estimated variable costs 2023 for network growth per new water connection | USD, pl 2023 / # | [5 empty] | 919.0766 |  | Tariff model 2023 - updated WACC, sheet "Fixed-variable costs", row 69.
Data from tariff model 2023 and July 2023
Estimated fixed/variable costs from tariffs 2023
Total estimated fixed costs 2023 | USD, pl 2023 |  |  | 1796243.749 | 629736.3112 | 600036.08 | 652287.7795 | 12120.4395 | Tariff model 2023, sheet "Fixed-variable costs", row 65.
Total estimated regular variable capital costs 2023 (excl. addition new water connections) | USD, pl 2023 | [5 empty] | 176762.7929 |  | Tariff model 2023, sheet "Fixed-variable costs", row 66.
Total estimated variable costs 2023 per unit (excl. addition for network growth) | USD, pl 2023 / # |  |  | 0.018215 | 23.0113 | 0.33153 | 269.213 | 4.3062 | Tariff model 2023, sheet "Fixed-variable costs", row 67-68.
Extra estimated variable costs 2023 for network growth per new water connection | USD, pl 2023 / # | [5 empty] | 803.399 |  | Tariff model 2023, sheet "Fixed-variable costs", row 69.
Estimated volume 2023
Unit | (see column) |  |  | kWh | kVA | m3 | connections | m3
Estimated volume 2023 | (see column) |  |  | 17256000 | 18381.4363 | 187300 | 1092.9086 | 2652.26 | Tariff model 2023, sheet "Data on volumes and tariffs", cell L18; cell M80; cell N29; cell O55; cell P83.
Realized volume 2021 | (see column) | [5 empty] | 896.3333 |  | Tariff model 2023, sheet "Data on volumes and tariffs", cell O13.
Estimated network losses 2023 | % |  |  |  | 11% |  | 17.54% |  | Tariff model 2023, sheet "Data on volumes and tariffs", row 34.
Production price 2023
Production price incl fuel (Jan-Jun 2023) | USD/kWh, pl 2023 |  |  | 0.4098 |  |  |  |  | Tariff model 2023, sheet "Tariffs electricity", cell L74.
Production price incl fuel (Jul-Dec 2023) | USD/kWh, pl 2023 |  |  | 0.37139 |  |  |  |  | Tariff model July 2023, sheet "Result", cell H40.
Production price 2023 | USD/m3, pl 2023 |  |  |  |  | 4.4301 |  |  | Tariff model 2023, sheet "Tariffs drinking water", cell N56.
Data from tariff model 2024 and July 2024
Data for the energy cost correction
Total estimated water production 2024 | m3 |  |  |  |  | 197952.558 |  |  | Tariff model 2024, sheet "Estimates for 2024", cell N14.
Variable distribution tariff per 1 January 2024 | USD, pp 2024/kWh |  |  |  |  | 0.39581 |  |  | Tariff model 2024, sheet "Electricity Distribution", cell M67.
Variable distribution tariff per 1 July 2024 | USD, pp 2024/kWh |  |  |  |  | 0.38767 |  |  | Tariff model July 2024, sheet "Result", cell H40.
Production yield based on electricity | kWh/m3 |  |  |  |  | 4.5113 |  |  | Tariff model 2024, sheet "Estimates for 2024", cell N40.
Expected share of water distribution in second half of the year 2024 | % |  |  |  |  | 50% |  |  | Expected share of 50% as is assumed in the 2024 decisions.
Tariffs associated with connection activities
Tariff for new water connection in 2024 | USD, pl 2024 | [5 empty] | 272.9402 |  | Tariff model 2024, sheet "Water distribution", cell O56.
Tariff for road crossing, per meter | USD, pl 2024 | [5 empty] | 189.5535 |  | Tariff model 2024, sheet "Water distribution", cell O57.
Tariff new electricity connection 3,2 and 7,7 kVA (incl. up to 25 meters) | USD, pl 2024 |  |  |  | 305.4366 |  |  |  | Tariff model 2024 , sheet "Result", cell H44
Tariff for road crossing for 3,2 kVA connection, per meter | USD, pl 2024 |  |  |  | 189.5535 |  |  |  | Tariff model 2024 , sheet "Result", cell H45
Tariff for road crossing for 7,7 kVA connection, per meter | USD, pl 2024 |  |  |  | 205.7859 |  |  |  | Tariff model 2024 , sheet "Result", cell H46
Reconnection fee | USD, pl 2024 |  |  |  | 40 |  | 40 |  | Tariff model 2024, sheet "Electricity distribution"; cell M98; sheet "Water distribution", cell O53.
Additional costs related to new water connections 2025
Data from tariff decisions 2018
Number of connections 2016 | # | [5 empty] | 518 |  | STUCO Water usage analysis 2016 | Total number of consumers billed divided by 12
RAB water distribution 2016 | USD | [5 empty] | 307847 |  | Tariff model 2018, sheet "Input costs and subsidies", cell I20
Depreciation water distribution 2016 | USD | [5 empty] | 24424 |  | Tariff model 2018, sheet "Input costs and subsidies", cell I21
Lost subsidy income
Lost subsidy income | USD, pl 2023 |  |  |  | 18753.4498 |  | 24408.8449 |  | ACM calculation lost subsidy income, sheet "Lost subsidy income 2023", Cell E94 and E107
[ END OF SHEET ]

## Financial data
Cost base 2023
Description data
This sheet displays STUCO's cost base over 2023. This is used to calculate STUCO's income level for 2025 and profit sharing over regular costs for 2023.
This data is sourced from underlying ACM models based on Financial information that ACM received from STUCO.
Major occurrences in 2024 or 2025 are added to the cost base in the calculation of income level for 2025.
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Source | Remarks
Regular cost base
Input from the OPEX-model
Operational costs (excl fuel) 2023 | USD, pl 2023 |  | 4569771 | 1809291.525 | 1448608.975 | 648424.25 | 663446.25 |  | OPEX-model, sheet "Output"; row 11
Other income 2023 | USD, pl 2023 |  | 185632 | 0 | 161766 | 0 | 23866 |  | OPEX-model, sheet "Output"; row 12
Operational costs (excl fuel) 2023 for Profit Sharing | USD, pl 2023 |  | 4569771 | 1809291.525 | 1448608.975 | 648424.25 | 663446.25 |  | OPEX-model, sheet "Output"; row 18
Other income 2023 for Profit Sharing | USD, pl 2023 |  | 185632 | 0 | 161766 | 0 | 23866 |  | OPEX-model, sheet "Output"; row 19
Input from the RAB-model
RAB-value ultimo 2023 | USD |  | 9781763.0934 | 3133067.5894 | 2103900.4806 | 1316546.0731 | 3226221.553 | 2027.3974 | RAB-model, sheet "Output"; row 51 | RAB-value does not relate to any price level due to the use of a nominal WACC.
Depreciation 2023 | USD |  | 962017.0289 | 388402.2076 | 225711.2424 | 127230.9173 | 220288.3504 | 384.3112 | RAB-model, sheet "Output"; row 52 | Depreciation does not relate to any price level due to the use of a nominal WACC.
Allocation key fixed/variable costs
Variable part of operational costs | % |  |  | 19.41% | 27.58% | 12.89% | 30.23% | 30.23% | Tariff model 2024, sheet "Historical data", row 25. | Based on analysis by ACM on fixed/variable costs in the Caribbean Netherlands and as used in the 2024 decisions.
Fixed part of operational costs | % |  |  | 80.59% | 72.42% | 87.11% | 69.77% | 69.77%
Variable part of capital costs | % |  |  | 0% | 50% | 0% | 0% | 50% | Tariff model 2024, sheet "Historical data", row 26. | Based on assumption by ACM on fixed/variable costs in the Caribbean Netherlands and as used in the 2024 decisions.
Fixed part of capital costs | % |  |  | 100% | 50% | 100% | 100% | 50%
Additions to cost base (major occurrences)
Electricity production by GTI
Cost of emergency production | USD |  |  | 326432 |  |  |  |  | OPEX model, sheet "Assessment OPEX", row 256
Additions to capital costs due to network growth
Number of connections 2016 | # | [5 empty] | 518
RAB water distribution 2016 | USD | [5 empty] | 307847
Depreciation water distribution 2016 | USD | [5 empty] | 24424
Number of connections 2023 | # | [5 empty] | 1113.5
RAB water distribution 2023 | USD | [5 empty] | 3226221.553
Depreciation water distribution 2023 | USD | [5 empty] | 220288.3504
Addtional RAB per extra connection | USD/# | [5 empty] | 4900.7129
Annual depreciation per extra connection | USD/# | [5 empty] | 328.9074
Solar park phase 3
Total costs phase 3 | USD |  |  | 10910300 |  |  |  |  | Budget 2023, page 18
Subsidy EZK phase 3 | USD |  |  | 10100000 |  |  |  |  | Subsidy grant phase 3
Contribution STUCO to phase 3 | USD |  |  | 810300
WACC electricity production 2024 | % |  |  | 6.46% |  |  |  |  | ACM WACC decision 2023-2025
Capitalized construction interest 2024 | USD |  |  | 52345.38
Estimated RAB value at time of capitalization | USD |  |  | 862645.38
Estimated date of capitalization |  |  |  | 2025-01-31 |  |  |  |  | E-mail sent by STUCO on October 16 2024
Depreciation rate | % |  |  | 7% |  |  |  |  | E-mail sent by STUCO on November 22 2023
Annual depreciation | USD |  |  | 60385.1766
Depreciation in 2025 | USD |  |  | 55384.0771
Estimated RAB value ultimo 2025 | USD |  |  | 807261.3029
Average RAB value 2025 | USD |  |  | 834953.3414
Period in use | Months |  |  | 11.0062
Average RAB value 2025, by ratio of months in use | USD |  |  | 765802.5171
[ END OF SHEET ]
Note on O29: Costs related to network growth are calculated separately (see below)

## Calculations corrections -->
This sheet seperates different types of sheets and is intentionally left blank

## WACC correction 2023
WACC correction 2023
Description data
On this sheet ACM calculates the WACC correction 2023.
In the WACC decision 2023-2025, ACM decided to include a yearly ex post recalculation of the risk free rate in the tariff decisions.
The calculation is done by comparing the difference between estimated fixed and variable costs before adjusting the risk free rate with the estimated fixed and variable costs after adjusting the risk free rate.
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Remarks
Input
Volume
Unit | (see column) |  |  | kWh | kVA | m3 | connections | m3
Realized volume 2021 | (see column) | [5 empty] | 896.3333
Realized volume 2023 | (see column) |  |  | 15605964.8 | 18667.0558 | 193569 | 1113.5 | 1047.55
Fixed/variable costs before WACC correction
Total estimated fixed costs 2023 | USD, pl 2023 |  | 3690424.3591 | 1796243.749 | 629736.3112 | 600036.08 | 652287.7795 | 12120.4395
Total estimated regular variable capital costs 2023 (excl. addition new water connections) | USD, pl 2023 | [5 empty] | 176762.7929
Total estimated variable costs 2023 per unit (excl. addition for network growth) | USD, pl 2023 / # |  |  | 0.018215 | 23.0113 | 0.33153 | 269.213 | 4.3062
Extra estimated variable costs 2023 for network growth per new water connection | USD, pl 2023 / # | [5 empty] | 803.399
Fixed/variable costs after WACC correction
Total estimated fixed costs 2023 | USD, pl 2023 |  | 3807636.2582 | 1849946.1201 | 642890.503 | 625054.1341 | 677186.4014 | 12559.0997
Total estimated regular variable capital costs 2023 (excl. addition new water connections) | USD, pl 2023 | [5 empty] | 201661.4147
Total estimated variable costs 2023 per unit (excl. addition for network growth) | USD, pl 2023 / # |  |  | 0.018215 | 23.7461 | 0.33153 | 269.213 | 4.5522
Extra estimated variable costs 2023 for network growth per new water connection | USD, pl 2023 / # | [5 empty] | 919.0766
Calculation
WACC correction
WACC correction for fixed costs 2023 | USD, pl 2023 |  |  | 53702.3711 | 13154.1918 | 25018.0541 | 24898.6219 | 438.6603
WACC correction for regular variable capital costs 2023 (excl. addition new water connections) | USD, pl 2023 | [5 empty] | 24898.6219
WACC correction for variable costs 2023 (excl. addition for network growth) | USD, pl 2023 |  |  | 0 | 13716.8942 | 0 | 0 | 257.7366
WACC correction extra estimated variable costs 2023 for network growth per new water connection | USD, pl 2023 | [5 empty] | 25121.3296
Total WACC correction
WACC correction 2023 | USD, pl 2023 |  | 181206.4814 | 53702.3711 | 26871.086 | 25018.0541 | 74918.5734 | 696.3968
[ END OF SHEET ]

## Volume-effect 2023
Calculation volume-effect correction 2023
Description calculation
On this sheet the ACM calculates the correction for the volume effect.
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Remarks
Relevant data for volume-effect correction
Estimated fixed costs before WACC correction
Total estimated fixed costs for 2023 | USD, pl 2023 |  | 3690424.3591 | 1796243.749 | 629736.3112 | 600036.08 | 652287.7795 | 12120.4395
Volume
Unit | (see column) |  |  | kWh | kVA | m3 | connections | m3
Estimated volume 2023 | (see column) |  | 17465426.6049 | 17256000 | 18381.4363 | 187300 | 1092.9086 | 2652.26
Realized volume 2023 | (see column) |  | 17306497.1058 | 17092100 | 18667.0558 | 193569 | 1113.5 | 1047.55
Total lost subsidy income as a result of rising volumes in 2023 | USD, pl 2023 |  |  |  | 18753.4498 |  | 24408.8449
Calculation volume-effect correction
Calculation coverage of fixed costs
Realized income to cover fixed costs 2023 | USD, pl 2023 |  | 3708188.3611 | 1779182.7644 | 639521.4531 | 620119.5086 | 664577.485 | 4787.15
Volume-effect correction 2023 | USD, pl 2023 |  | 25398.2926 | 17060.9846 | 8968.3079 | -20083.4286 | 12119.1393 | 7333.2894 | The volume effect for distribution is corrected for the fact that subsidy income does not increase with rising volume
[ END OF SHEET ]

## Profit Sharing 2023
Calculation profit sharing
Description calculation
On this sheet ACM calculates the profit sharing correction for regular costs and for network losses.
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Remarks
Relevant data for profit sharing correction
Parameters
WACC 2023 - adjusted risk free rate | % |  |  | 8.23% | 7.18% | 8.11% | 8.11% | 8.11%
Profit sharing-percentage | % | 50%
Estimated costs after WACC correction
Estimated fixed costs 2023 | USD, pl 2023 |  | 3807636.2582 | 1849946.1201 | 642890.503 | 625054.1341 | 677186.4014 | 12559.0997
Total estimated regular variable capital costs 2023 (excl. addition new water connections) | USD, pl 2023 | [5 empty] | 201661.4147
Estimated variable costs 2023 per unit | USD, pl 2023 / # |  |  | 0.018215 | 23.0113 | 0.33153 | 269.213 | 4.3062
Extra estimated variable costs 2023 for network growth per new water connection | USD, pl 2023 / # | [5 empty] | 919.0766
Realized costs
RAB-value ultimo 2023 | USD |  | 9781763.0934 | 3133067.5894 | 2103900.4806 | 1316546.0731 | 3226221.553 | 2027.3974
Depreciation 2023 | USD |  | 962017.0289 | 388402.2076 | 225711.2424 | 127230.9173 | 220288.3504 | 384.3112
Operational costs 2023 (excl fuel) | USD, pl 2023 |  | 4569771 | 1809291.525 | 1448608.975 | 648424.25 | 663446.25 | 0
Other income 2023 | USD, pl 2023 |  | 185632 | 0 | 161766 | 0 | 23866 | 0
Realized volumes
Unit | (see column) |  |  | kWh | kVA | m3 | connections | m3
Realized volume 2021 | (see column) | [5 empty] | 896.3333
Realized volume 2023 | (see column) |  |  | 15605964.8 | 18667.0558 | 193569 | 1113.5 | 1047.55
Percentage water distribution by truck 2023 | % | 0.5508%
Split water distribution
Realized costs (after split water distribution) | [8 empty] | ACM splits cost of water distribution between distribution by line and by truck, using realized percentage of water by truck as allocation key.
RAB-value ultimo 2023 | USD |  | 9781763.0934 | 3133067.5894 | 2103900.4806 | 1316546.0731 | 3208450.7407 | 19798.2097
Depreciation 2023 | USD |  | 962017.0289 | 388402.2076 | 225711.2424 | 127230.9173 | 219074.9486 | 1597.713
Operational costs 2023 (excl fuel) | USD, pl 2023 |  | 4569771 | 1809291.525 | 1448608.975 | 648424.25 | 659791.8268 | 3654.4232
Other income 2023 | USD, pl 2023 |  |  | 0 | 161766 | 0 | 23734.5403 | 131.4597
Profit sharing for regular costs
Total realized costs
Capital cost 2023 (RAB*WACC+ depreciation) | USD, pl 2023 |  |  | 646253.6702 | 376771.2969 | 234002.8039 | 479280.3037 | 3203.3478
Net operational costs 2023 (OPEX excl fuel - other income) | USD, pl 2023 |  |  | 1809291.525 | 1286842.975 | 648424.25 | 636057.2866 | 3522.9634
Estimated and realized costs 2023
Total estimated costs for 2023 adjusted for realized volume | USD, pl 2023 |  | 5291160.3782 | 2134210.0158 | 1072443.7774 | 689227.2339 | 1378209.284 | 17070.0671
Total realized costs for 2023 | USD, pl 2023 |  | 6123650.4224 | 2455545.1952 | 1663614.2719 | 882427.0539 | 1115337.5902 | 6726.3112
Calculation profit sharing for regular costs 2023
Realized profit (loss) over 2023 for profit sharing | USD, pl 2023 |  | -832490.0442 | -321335.1794 | -591170.4945 | -193199.8199 | 262871.6938 | 10343.7559 | Negative amount indicates realized costs were higher than estimated.
Profit sharing correction 2023 | USD, pl 2023 |  |  | 160667.5897 | 295585.2472 | 96599.91 | -131435.8469 | -5171.8779
Profit sharing for network losses
Input for profit sharing over network losses
Production price incl fuel Jan-Jun 2023 | USD, pl 2023/kWh |  |  | 0.4098
Production price incl fuel Jul-Dec 2023 | USD, pl 2023/kWh |  |  | 0.37139
Average production price 2023 | USD, pl 2023/kWh |  |  | 0.3906 |  | 4.4301 |  |  | ACM assumes an even distribution between the first and second half of 2023
Estimated network losses 2023 | % |  |  |  | 11% |  | 17.54%
Realized network losses 2023 | % |  |  |  | 8.426% |  | 38.81%
Estimated and realized costs of network losses 2023
Estimated costs of network losses 2023 | USD, pl 2023 |  |  |  | 670517.971 |  | 150450.3736
Realized costs of network losses 2023 | USD, pl 2023 |  |  |  | 513596.1181 |  | 332785.7036
Calculation profit sharing for network losses 2023
Realized profit (loss) over network losses 2023 | USD, pl 2023 |  |  |  | 156921.8529 |  | -182335.3299 |  | Negative amount indicates realized costs were higher than estimated.
Profit sharing add-on for network losses 2023 | USD, pl 2023 |  |  |  | -78460.9264 |  | 91167.665 |  | As a result of profit sharing, the income in 2024 will be increased by 50% of the difference between the realized and estimated costs.
[ END OF SHEET ]
Note on O19: Only operational costs. Estimated variable capital costs per new connection are listed in O20.

## Energy cost correction 2024
Calculation of the energy cost correction for water production
Description data
This sheet contains the calculation of the energy cost correction for the water production.
The correction for energy costs is based on the difference between the variable distribution tariff, as used in the calculation of the drinking water production price, and the variable distribution tariff that is set for the second half of the year.
The difference between both prices results in an under- or overrecovery of electricity costs for the drinking water producer, which the energy cost correction corrects for.
The energy cost correction is calculated for 2024, based on the variable distribution tariff as set in the semi-annual tariff decision for electricity distribution.
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Remarks
Data on the energy cost correction
Data on energy costs
Total expected water production 2024 | m3 |  |  |  |  | 197952.558
Variable distribution tariff per 1 January 2024 | USD, pl 2024/kWh |  |  |  |  | 0.39581
Variable distribution tariff per 1 July 2024 | USD, pl 2024/kWh |  |  |  |  | 0.38767
Required amount of electricity for drinking water production 2024 | kWh/m3 |  |  |  |  | 4.5113
Estimated share of water distribution in 2nd half of 2024 | % |  |  |  |  | 0.5
Calculation of the energy cost correction
Difference variable tariff per January 1st and per July 1st 2024 | USD, pl 2024/kWh |  |  |  |  | -0.0081357
Electricity for drinking water production in 2nd half of 2024 | kWh |  |  |  |  | 446508.2524
Energy cost correction 2024 | USD, pl 2024 |  |  |  |  | -3632.6621
[ END OF SHEET ]

## Overview corrections
Overview corrections
Description
This sheet gives an overview of corrections that affect the tariffs for 2025 and converts them to price level 2025.
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Remarks
Input
Parameters
Legal fixed interest rate over 2024 - 2025 | % | 3%
Compounded legal fixed interest rate over 2023 - 2025 | % | 6.09%
Corrections imported from fuel model
Fuel cost correction 2023 | USD, pl 2023 |  |  | -288706.9316
Fuel component correction May - October 2024 | USD, pl 2024 |  |  |  | -61219.7269
Corrections calculated in tariff model
Volume-effect correction 2023 | USD, pl 2023 |  |  | 17060.9846 | 8968.3079 | -20083.4286 | 12119.1393 | 7333.2894
Profit sharing 2023: regular costs | USD, pl 2023 |  |  | 160667.5897 | 295585.2472 | 96599.91 | -131435.8469 | -5171.8779
Profit sharing 2023: network losses | USD, pl 2023 |  |  |  | -78460.9264 |  | 91167.665
WACC correction 2023 | USD, pl 2023 |  |  | 53702.3711 | 26871.086 | 25018.0541 | 74918.5734 | 696.3968
Energy cost correction 2024 | USD, pl 2024 |  |  |  |  | -3632.6621
Cost of emergency production 2023 | USD, pl 2023 |  |  | 326432
Estimated volume
Unit | (see column) |  |  | kWh |  | m3 |  | m3
Estimated volume 2025 |  |  |  | 17621400 |  | 201600 |  | 2016
Estimated production 1st half of 2025 | kWh |  |  | 8282058
Corrections in price level 2025
Corrections to income level
Fuel cost correction 2023 | USD, pl 2025 |  | -306289.1837 | -306289.1837
Volume-effect correction 2023 | USD, pl 2025 |  | 26945.0486 | 18099.9986 | 9514.4778 | -21306.5095 | 12857.1949 | 7779.8868
Profit sharing 2023: regular costs | USD, pl 2025 |  | 441594.3439 | 170452.2459 | 313586.3888 | 102482.8445 | -139440.29 | -5486.8453
WACC correction 2023 | USD, pl 2025 |  | 192241.9562 | 56972.8455 | 28507.5351 | 26541.6536 | 79481.1145 | 738.8074
Energy cost correction 2024 | USD, pl 2025 |  | -3741.6419 |  |  | -3741.6419
Cost of emergency production 2023 | USD, pl 2025 |  | 346311.7088 | 346311.7088
Corrections to variable distribution tariff
Fuel component correction May - October 2024 | USD, pl 2025 |  | -63056.3187 |  | -63056.3187
Profit sharing 2023: network losses | USD, pl 2025 |  | 13480.5789 |  | -83239.1969 |  | 96719.7758
Corrections to variable distribution tariff per unit
Fuel component correction May - October 2024 per kWh | USD, pl 2025 / kWh |  |  |  | -0.0076136 |  |  |  | The fuel component correction May-October 2024 will be included in the variable usage tariff January-June 2025. Therefore, this amount is divided by the volume for 1st half of 2025.
Profit sharing 2023: network losses per kWh / m3 | USD, pl 2025 / # |  |  |  | -0.0047238 |  | 0.48461
[ END OF SHEET ]

## Calculations tariffs -->
This sheet seperates different types of sheets and is intentionally left blank

## Fixed-variable costs
Calculation Fixed/Variable costs 2025
Description calculation
On this sheet the ACM splits costs per department in a fixed and variable part.
Variable costs per unit are costs multiplied by percentage variable, divided by realized volume 2023. Fixed costs are costs multiplied by percentage fixed (= 1 - percentage variable).
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Remarks
Relevant data
Parameters
Estimated inflation 2024 | % | 0%
Estimated inflation 2025 | % | 3.1%
WACC 2025 | % |  |  | 6.45% | 5.69% | 6.36% | 6.36% | 6.36%
Estimated percentage of water by truck 2025 | % | 1%
Volume
Unit | (see column) |  |  | kWh | kVA | m3 | connections | m3
Realized volume 2023 | (see column) |  |  | 15605964.8 | 18667.0558 | 193569 | 1113.5 | 1047.55
Cost base
Operational costs 2023 (excl. fuel and other income) | USD, pl 2023 |  | 4569771 | 1809291.525 | 1448608.975 | 648424.25 | 663446.25
Other income 2023 (excl. income new connections for water distribution) | USD, pl 2023 |  | 185632 | 0 | 161766 | 0 | 23866
RAB-value ultimo 2023 | USD |  | 9781763.0934 | 3133067.5894 | 2103900.4806 | 1316546.0731 | 3226221.553 | 2027.3974
Depreciation in 2023 | USD |  | 962017.0289 | 388402.2076 | 225711.2424 | 127230.9173 | 220288.3504 | 384.3112
Income related to new connections | USD, pl 2023 |  | 49123.7233 |  |  |  | 49123.7233
Variable part of operational costs | % |  |  | 19.41% | 27.58% | 12.89% | 30.23% | 30.23%
Fixed part of operational costs | % |  |  | 80.59% | 72.42% | 87.11% | 69.77% | 69.77%
Variable part of capital costs | % |  |  | 0% | 50% | 0% | 0% | 50%
Fixed part of capital costs | % |  |  | 100% | 50% | 100% | 100% | 50%
Additions to cost base (major occurrences)
Addition in RAB per connection | USD/connection | [5 empty] | 4900.7129
Addition in depreciation per connection | USD/connection | [5 empty] | 328.9074
Addition to RAB phase 3 | USD |  |  | 765802.5171
Addtion to depreciation phase 3 | USD |  |  | 55384.0771
Additionals to fixed capital costs phase 3 | USD |  |  | 104778.3395
Calculation split water distribution
Realized costs after split water distribution | [8 empty] | ACM splits cost of water distribution between distribution by line and by truck, using estimated percentage of water by truck as allocation key.
Operational costs 2023 (excl. fuel) | USD, pl 2023 |  | 4569771 | 1809291.525 | 1448608.975 | 648424.25 | 656811.7875 | 6634.4625
Other income 2023 (excl. income new connections for water distribution) | USD, pl 2023 |  | 185632 | 0 | 161766 | 0 | 23627.34 | 238.66
RAB-value ultimo 2023 | USD |  | 9781763.0934 | 3133067.5894 | 2103900.4806 | 1316546.0731 | 3193959.3375 | 34289.6129
Depreciation in 2023 | USD |  | 962017.0289 | 388402.2076 | 225711.2424 | 127230.9173 | 218085.4669 | 2587.1947
Calculation fixed-variable costs for cost estimates 2025
Fixed/variable operational costs
Estimated fixed operational costs 2025 | USD, pl 2023 |  | 3300137.9733 | 1458105.7773 | 887303.8053 | 564848.7594 | 385489.5977 | 4390.0335 | ACM assumes other income to be related to fixed costs.
Estimated variable operational costs 2025 | USD, pl 2023 |  | 1034877.3033 | 351185.7477 | 399539.1697 | 83575.4906 | 198571.1264 | 2005.769
Estimated variable operational costs 2025 per unit | USD, pl 2023 / # |  |  | 0.022503 | 21.4034 | 0.43176 | 178.3306 | 1.9147
Fixed/variable capital costs
Capital costs (RAB*WACC+ depreciation) | USD |  | 1572860.7893 | 590485.0671 | 345423.1798 | 210963.2476 | 421221.2807 | 4768.0141
Estimated fixed capital costs 2025 | USD |  | 1502543.5318 | 695263.4066 | 172711.5899 | 210963.2476 | 421221.2807 | 2384.007
Estimated variable capital costs 2025 | USD |  | 175095.5969 | 0 | 172711.5899 | 0 | 0 | 2384.007
Estimated variable capital costs 2025 per unit | USD / # |  |  | 0 | 9.2522 | 0 | 0 | 2.2758
Total fixed/variable costs
Total estimated fixed costs 2025 | USD, pl 2025 |  | 4904985.7823 | 2198570.463 | 1087521.8132 | 793322.3185 | 818661.056 | 6910.1316
Total estimated variable costs 2025 per unit | USD, pl 2025 / # |  |  | 0.023201 | 31.3192 | 0.44515 | 183.8589 | 4.2499
Variable capital costs per new connection | USD /# | [5 empty] | 640.5927
[ END OF SHEET ]
Note on O52: Income related to new connections is deducted from fixed operational costs
Note on L57: Includes additions in estimated capital costs for solar park phase 3.
Note on O65: These extra variable costs are added per new water connection above the number of connections in 2023.

## Income level
Calculation Income level 2025
Description calculation
On this sheet the ACM calculates an income level per activity for 2025 based on estimated fixed and variable costs.
Income level is fixed costs plus variable costs multiplied by estimated volume 2025.
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Remarks
Input
Estimated volume
Unit | (see column) |  |  | kWh | kVA | m3 | connections | m3
Estimated volume 2025 |  |  |  | 17621400 | 19287.793 | 201600 | 1225.563 | 2016
Realized volume 2023 | [6 empty] | 1113.5
Fixed/variable costs
Total estimated fixed costs 2025 | USD, pl 2025 |  |  | 2198570.463 | 1087521.8132 | 793322.3185 | 818661.056 | 6910.1316
Total estimated variable costs 2025 per unit | USD, pl 2025 / # |  |  | 0.023201 | 31.3192 | 0.44515 | 183.8589 | 4.2499
Variable capital costs per new connection | USD /# | [5 empty] | 640.5927
Corrections to income level
Fuel cost correction 2023 | USD, pl 2025 |  | -306289.1837 | -306289.1837
Volume-effect correction 2023 | USD, pl 2025 |  | 26945.0486 | 18099.9986 | 9514.4778 | -21306.5095 | 12857.1949 | 7779.8868
Profit sharing over regular costs 2023 | USD, pl 2025 |  | 441594.3439 | 170452.2459 | 313586.3888 | 102482.8445 | -139440.29 | -5486.8453
WACC correction 2025 | USD, pl 2025 |  | 192241.9562 | 56972.8455 | 28507.5351 | 26541.6536 | 79481.1145 | 738.8074
Energy cost correction 2024 | USD, pl 2025 |  | -3741.6419 |  |  | -3741.6419
Cost of emergency production 2023 | USD, pl 2025 |  | 346311.7088 | 346311.7088
Calculation income level
Income level
Income level (before corrections) | USD, pl 2025 |  |  | 2607402.8894 | 1691599.2519 | 883063.6112 | 1115778.4289 | 15477.8763 | The income level before corrections is equal to estimated costs for 2025 including a reasonable return (WACC).
Income level (after corrections) | USD, pl 2025 |  |  | 2892950.5044 | 2043207.6537 | 987039.9579 | 1068676.4483 | 18509.7252
[ END OF SHEET ]
Note on O16: Needed for variable capital costs per new water connection.Amount of new connections is: Estimated number of connections 2025 minus number of connections 2023.
Note on O34: Variable capital cost per new connection only apply to new connections.

## Variable tariffs electricity
Tariff calculation Electricity - variable
Description
On this sheet the ACM calculates the production price and variable distribution tariff for electricity.
The production price is based on income level for electricity production. The variable distribution tariff electricity is based on the production price electricity.
The calculations are explained in the Remarks column.
Description | Unit | Constant | Remarks
Production price electricity
Production price excluding fuel
Income level for electricity production 2025 | USD, pl 2025 | 2892950.5044
Estimated volume electricity production 2025 | kWh | 17621400
Production price electricity 2025 excl. fuel | USD/kWh, pl 2025 | 0.16417 | The production price for electricity, excluding fuel component, is equal to income level divided by estimated volume for electricity production.
Production price electricity 2025 excl. fuel (rounded) | USD/kWh, pl 2025 | 0.1642 | Rounded to four decimals.
Fuel component
Estimated fuel efficiency 2025 | liters/kWh | 0.27644
Estimated share production with fuel 2025 | % | 52.28%
Most recent fuel price | USD/liter | 0.7726
Fuel component January 2025 | USD/kWh, pl 2025 | 0.11166 | The fuel component is fuel costs per kWh, given by: fuel price * fuel efficiency * share of production by fuel.
Production price including fuel
Production price electricty 2025 incl. fuel | USD/kWh, pl 2025 | 0.27583
Production price electricty 2025 incl. fuel (rounded) | USD/kWh, pl 2025 | 0.2758 | Rounded to four decimals.
Variable distribution tariff electricity
Corrections added to variable tariff
Fuel component correction May - October 2024 per kWh | USD/kWh, pl 2025 | -0.0076136
Profit sharing over network losses 2023 per kWh | USD/kWh, pl 2025 | -0.0047238
Network losses
Estimated network losses 2025 | % | 11%
Calculation variable distribution tariff
Variable distribution tariff electricity 2025 | USD/kWh, pl 2025 | 0.29606 | The variable distribution tairff for electricity is the production price electricity plus corrections, divided by percentage billed electricity.
Variable distribution tariff electricity 2025 | USD/kWh, pl 2025 | 0.2961 | Rounded to four decimals.
[ END OF SHEET ]

## Fixed tariffs electricity
Tariff calculation Electricity - fixed
Description
On this sheet the ACM calculates the fixed distribution tariffs and the tariffs for connection activities for electricity.
The fixed distribution tariffs are based on income level for electricity distribution. Tarrifs for connection activities are last year's tariffs indexed for inflation.
The calculations are explained in the Remarks column.
Description | Unit | Constant | Remarks
Fixed distribution tariffs electricity
Income level per kVA per month
Income level for electricity distribution per kVA 2025 | USD, pl 2025 | 2043207.6537
Total estimated kVA of connections 2025 | kVA | 19287.793
Income level for electricity distribution per kVA per month 2025 | USD/kVA/month, pl 2025 | 8.8277 | Income level is for the whole year 2025, therefore income level per month is income level divided by 12.
Fixed distribution tariff per category |  |  | The (monthly) fixed distribution tariff per category is income level per kVA per month, multiplied by the kVA of the connection.
3.2 | USD/month, pl 2025 | 28.2487
7.7 | USD/month, pl 2025 | 67.9735
11 | USD/month, pl 2025 | 97.105
13.86 | USD/month, pl 2025 | 122.3522
13.3 | USD/month, pl 2025 | 117.4087
19 | USD/month, pl 2025 | 167.7267
23.94 | USD/month, pl 2025 | 211.3357
30.4 | USD/month, pl 2025 | 268.3628
38 | USD/month, pl 2025 | 335.4535
47.5 | USD/month, pl 2025 | 419.3169
60.8 | USD/month, pl 2025 | 536.7256
76 | USD/month, pl 2025 | 670.907
85.5 | USD/month, pl 2025 | 754.7704
95 | USD/month, pl 2025 | 838.6337
119.7 | USD/month, pl 2025 | 1056.6785
175 | USD/month, pl 2025 | 1544.8516
200 | USD/month, pl 2025 | 1765.5447
Tariffs for connection activities
Parameters
Estimated inflation 2025 | % | 3.1%
Tariffs for connection activities 2024
Reconnection fee 2024 | USD, pl 2024 | 40
Tariff new electricity connection 3,2 and 7,7 kVA (incl. up to 25 meters) | USD, pl 2024 | 305.4366
Tariff for road crossing for 3,2 kVA connection, per meter | USD, pl 2024 | 189.5535
Tariff for road crossing for 7,7 kVA connection, per meter | USD, pl 2024 | 205.7859
Tariffs for connection activities 2025
Reconnection fee 2025 | USD, pl 2025 | 40 | The reconnection fee is set fixed at USD 40. Therefore, it is not indexed.
Tariff new electricity connection 3,2 and 7,7 kVA (incl. up to 25 meters) 2025 | USD, pl 2025 | 314.9052
Tariff for road crossing for 3,2 kVA connection, per meter 2025 | USD, pl 2025 | 195.4296
Tariff for road crossing for 7,7 kVA connection, per meter 2025 | USD, pl 2025 | 212.1653
[ END OF SHEET ]

## Variable tariffs water
Tariff calculation drinking water - variable
Description
On this sheet the ACM calculates the production price, variable distribution tariff and tariff for truck delivery of drinking water.
The calculations are explained in the Remarks column.
Description | Unit | Constant | Remarks
Production price drinking water
Production price excluding electricity costs
Income level for water production per m3 2025 | USD, pl 2025 | 987039.9579
Estimated volume water production 2025 | m3 | 201600
Production price drinking water 2025 (excl. electricity costs) | USD/m3, pl 2025 | 4.896 | Not established in the tariff decision, ACM only establishes a production price including electricity costs. This is unlike the production price electricity because the fuel component for electricity can change monthly, but electricity tariffs for the water plant can not.
Electricity costs of water production
Variable distribution tariff electricity 2025 | USD/kWh, pl 2025 | 0.29606
Fixed distribution tariff for water production facility | USD/month, pl 2025 | 754.7704
Production yield based on electricity | kWh/m3 | 4.5758
Fixed electricity costs for water production | USD, pl 2025 | 9057.2444 | Fixed tariffs are charged monthly, therefore annual fixed electricity costs equal the fixed tariff muliplied by 12.
Variable electricity costs for water production per m3 | USD/m3, pl 2025 | 1.3547
Electricity costs for water production per m3 | USD/m3, pl 2025 | 1.3996
Production price including electricity costs
Production price drinking water 2025 (incl. electricity costs) | USD/m3, pl 2025 | 6.2957
Production price drinking water 2025 (incl. electricity costs, rounded) | USD/m3, pl 2025 | 6.296 | Rounded to three decimals.
Variable distribution tariff drinking water
Corrections added to variable distribution tariff
Profit sharing: network losses 2023 per m3 | USD/m3, pl 2025 | 0.48461
Network losses (NRW)
Estimated network losses 2025 in % | % | 40%
Calculation variable distribution tariff drinking water
Variable distribution tariff 2025 drinking water | USD/m3, pl 2025 | 11.3005 | The variable distribution tariff drinking water is the production price drinking water plus corrections, divided by percentage billed water.
Variable distribution tariff 2025 drinking water (rounded) | USD/m3, pl 2025 | 11.3 | Rounded to three decimals.
Water distribution by truck
Calculation tariff distribution by truck
Income level for water truck delivery | USD, pl 2025 | 18509.7252
Estimated volume water distributed by truck 2025 | m3 | 2016
Tariff for water distribution by truck 2025 | USD/m3, pl 2025 | 15.4771 | The tariff for water distribution by truck is the production price drinking water plus income level per m3 for water distribution by truck.
Tariff for water distribution by truck 2025 (rounded) | USD/m3, pl 2025 | 15.477 | Rounded to three decimals.
[ END OF SHEET ]

## Fixed tariffs water
Tariff calculation drinking water - fixed
Description
On this sheet the ACM calculates the fixed distribution tariff and the tariffs for connection activities for drinking water
The calculations are explained in the Remarks column.
Description | Unit | Constant | Remarks
Fixed distribution tariff drinking water
Calculation fixed distribution tariff
Income level for drinking water distribution 2025 | USD, pl. 2025 | 1068676.4483
Estimated number of drinking water connections 2025 | m3 | 1225.563
Fixed distribution tariff drinking water 2025 | USD/month, pl 2025 | 72.6657 | The (monthly) fixed distribution tariff for drinking water is income level per connection per month. Income level is for the whole year 2025, therefore income level per month is income level divided by 12.
Tariffs for connection activities
Parameters
Estimated inflation 2025 | % | 3.1%
Tariffs associated with connection activities in 2024
Reconnection fee | USD, pl 2024 | 40
Tariff for new water connection in 2024 | USD, pl 2024 | 272.9402
Tariff for road crossing, per meter 2024 | USD, pl 2024 | 189.5535
Tariffs associated with connection activities in 2025
Reconnection fee | USD, pl 2025 | 40 | The reconnection fee is set fixed at USD 40. Therefore, it is not indexed.
Tariff for new water connection 2025 | USD, pl 2025 | 281.4014
Tariff for road crossing, per meter 2025 | USD, pl 2025 | 195.4296
[ END OF SHEET ]

## Dictum&Bijlage 1 Electricity EN
Dictum en Bijlage 1 Besluit: tariffs and key figures Electricity
Description
On this sheet all the relevant information to include in the appendix of the decision on the tariffs of 2025 is shown.
Tariffs to include in Dictum production price decision | Unit
Production price electricity excl. fuel | USD, pl 2025 / kWh | 0.1642
Distribution tariffs 2025 | Unit
Variable distribution tariff electricity | USD, pl 2025 / kWh | 0.2961
Fixed distribution tariff electricity
Tariff per kVA | USD, pl 2025 / month | 8.8277
Tariff category
3,2 kVA | USD, pl 2025 / month | 28.2487
7,7 kVA | USD, pl 2025 / month | 67.9735
11 kVA | USD, pl 2025 / month | 97.105
13,86 kVA | USD, pl 2025 / month | 122.3522
13,3 kVA | USD, pl 2025 / month | 117.4087
19 kVA | USD, pl 2025 / month | 167.7267
23,94 kVA | USD, pl 2025 / month | 211.3357
30,4 kVA | USD, pl 2025 / month | 268.3628
38 kVA | USD, pl 2025 / month | 335.4535
47,5 kVA | USD, pl 2025 / month | 419.3169
60,8 kVA | USD, pl 2025 / month | 536.7256
76 kVA | USD, pl 2025 / month | 670.907
85,5 kVA | USD, pl 2025 / month | 754.7704
95 kVA | USD, pl 2025 / month | 838.6337
119,7 kVA | USD, pl 2025 / month | 1056.6785
175 kVA | USD, pl 2025 / month | 1544.8516
200 kVA | USD, pl 2025 / month | 1765.5447
Connections tariffs electricity
Tariff for reconnection | USD, pl 2025 | 40
Connection 3,2 and 7,7 kVA (incl. up to 25 meters) | USD, pl 2025 | 314.9052
Additional tariff for road crossing
Tariff for road crossing for 3,2 kVA connection, per meter | USD, pl 2025 | 195.4296
Tariff for road crossing for 7,7 kVA connection, per meter | USD, pl 2025 | 212.1653
Key figures Tariff decisions STUCO 2025 - Electricity | Unit
Parameters
Recalculated WACC 2023 - Electricity Production | % | 8.23%
Recalculated WACC 2023 - Electricity Distribution | % | 7.18%
WACC 2025 - Electricity Production | % | 6.45%
WACC 2025 - Electricity Distribution | % | 5.69%
Estimated inflation 2024 | % | 0%
Estimated inflation 2025 | % | 3.1%
Profit sharing percentage | % | 50%
Wettelijke rente CNL ('legal fixed interest rate') | % | 3%
Summary of cost data 2023 |  | Electricity production | Electricity distribution
Operational costs 2023 (excl fuel) | USD, pl 2023 | 1809291.525 | 1448608.975
Other income 2023 | USD, pl 2023 | 0 | 161766
Regulated Asset Value (ultimo 2023) | USD | 3133067.5894 | 2103900.4806
Depreciation over 2023 | USD | 388402.2076 | 225711.2424
Data on developments
Capital costs in 2025 related to major occurrences | USD | 104778.3395
Data on corrections
WACC correction 2023 | USD, pl 2025 | 56972.8455 | 28507.5351
Volume-effect 2023 | USD, pl 2025 | 18099.9986 | 9514.4778
Profit sharing: regular costs 2023 | USD, pl 2025 | 170452.2459 | 313586.3888
Profit sharing: network losses 2023 | USD, pl 2025 |  | -83239.1969
Fuel cost correction 2023 | USD, pl 2025 | -306289.1837
Fuel component correction May-October 2024 | USD, pl 2025 |  | -63056.3187
Total cost of production by GTI in 2023 | USD, pl 2025 | 346311.7088
Income level 2025
Total estimated costs 2025 based on estimated volume 2025 | USD, pl 2025 | 2607402.8894 | 1691599.2519
of which are the estimated variable costs per unit | USD, pl 2025 / # | 0.023201 | 31.3192
Income level 2025 after corrections | USD, pl 2025 | 2892950.5044 | 2043207.6537
Other parameters (expectations 2025 electricity)
Total estimated production volume | kWh | 17621400
Production by solar | kWh | 8409000
Production by fuel | kWh | 9212400
Estimated production yield for fuel | Liter/kWh | 0.27644
Price fuel (most recent) | USD/liter | 0.7726
Network losses (estimate for 2025) | % |  | 11%
Total capacity of the network (estimate for 2025) | kVA |  | 19287.793
Note: 'pl' means price level

## Dictum&Bijlage 1 Water EN
Dictum en Bijlage 1 Besluit: tariffs and key figures Drinking Water
Description
On this sheet all the relevant information to include in the appendix of the decision on the tariffs of 2025 is shown.
Tariffs to include in Dictum production price decision | Unit
Production price drinking water | USD, pp 2025 / m3 | 6.296
Distribution tariffs 2025 | Unit
Variable distribution tariff drinking water | USD, pp 2025 / m3 | 11.3
Fixed distribution tariff drinking water | USD, pp 2025 / month | 72.6657
Connection tariffs drinking water
Tariff for reconnection | USD, pl 2025 | 40
Standard connection (incl. up to 25 meters) | USD, pl 2025 | 281.4014
Tariff for road crossing for standard connection, per meter | USD, pl 2025 | 195.4296
Distribution by truck
Price drinking water by truck | USD, pp 2025 / m3 | 15.477
Key figures Tariff decisions STUCO 2025 - Drinking Water | Unit
Parameters
Recalculated WACC 2023 - Water Production and Distribution | % | 8.11%
WACC 2025 - Water Production and Distribution | % | 6.36%
Estimated inflation 2024 | % | 0%
Estimated inflation 2025 | % | 3.1%
Wettelijke rente CNL ('legal fixed interest rate') | % | 3%
Expected percentage of drinking water delivered by truck in 2025 | % | 1%
Percentage for profit sharing | % | 50%
Summary of cost data 2023 |  | Water production | Water distribution | Water truck delivery
Operational costs 2023 (excl fuel) | USD, pl 2023 | 648424.25 | 656811.7875 | 6634.4625
Other income 2023 | USD, pl 2023 | 0 | 23627.34 | 238.66
Regulated Asset Value (ultimo 2023) | USD | 1316546.0731 | 3193959.3375 | 34289.6129
Depreciation over 2023 | USD | 127230.9173 | 218085.4669 | 2587.1947
Data on developments
Addition in RAB in 2025 due to growth of the water network | USD, pl 2025/# |  | 4900.7129
Addition in depreciation in 2025 due to growth of the water network | USD, pl 2025/# |  | 328.9074
Data on corrections
WACC correction 2023 | USD, pl 2025 | 26541.6536 | 79481.1145 | 738.8074
Volume-effect 2023 | USD, pl 2025 | -21306.5095 | 12857.1949 | 7779.8868
Profit sharing: regular costs 2023 | USD, pl 2025 | 102482.8445 | -139440.29 | -5486.8453
Profit sharing: network losses 2023 | USD, pl 2025 |  | 96719.7758
Energy costs correction 2024 | USD, pl 2025 | -3741.6419
Income level 2025
Total estimated costs 2025 based on estimated volume 2025 | USD, pl 2025 | 883063.6112 | 1115778.4289 | 15477.8763
of which are the estimated variable costs per unit | USD, pl 2025 / # | 0.44515 | 183.8589 | 4.2499
plus extra variable capital costs per new water connection | USD, pl 2025 / # |  | 640.5927
Income level 2025 after corrections | USD, pl 2025 | 987039.9579 | 1068676.4483 | 18509.7252
Additional: total electricity costs for production of drinking water | USD, pl 2025 | 1.3996
Other parameters (expectations 2025 drinking water)
Total estimated production volume | m3 | 201600
of which distributed by truck | m3 |  |  | 2016
Required electricity for drinking water | kWh/m3 | 4.5758
kVA-connection for water production | kVA | 85.5
Network loss (estimated for 2025) | % |  | 40%
Estimated number of connections 2025 (standard category) | # |  | 1225.563
Note: 'pl' means price level