## Cover sheet
Cover sheet
About this file
Case number | ACM/25/19710
File title | Berekening tarieven STUCO 2026
Subtitle
Belongs to decision(s): | Beschikking productieprijs elektriciteit 2026 STUCO Beschikking productieprijs drinkwater 2026 STUCO Beschikking distributietarieven elektriciteit 2026 STUCO Beschikking distributietarieven drinkwater 2026 STUCO
Reference number of decision(s) | ACM/UIT/662631 ACM/UIT/662627 ACM/UIT/662626 ACM/UIT/662624
Relationship to other calculation files | This file uses the output from the OPEX model, RAB model and the Fuel model
Other remarks
This calculation is developed in the standardized format used by the Energy Department of ACM (based on version 5, june 2021)
About the status of this file
Final version? (y/n) | Yes
When final, will this file be published? | Yes
Is this file legally part of the decision(s) listed above? (y/n) | Yes
When published, doe this file contain business-confidential information? (y/n) | No
Other remarks
Objections and appeals can be filed against the decision to which this file belongs.
Disclaimer
If there are any substantive differences between the calculation in this file and the calculation that follows from the relevant decision, the decision's calculation is authentic.
[ END OF SHEET ]

## Explanation
Explanatory notes to this file
Explanation about how this file works
This document contains the calculation of electricity and drinking water tariffs for 2025. These tariffs are based on cost estimates for STUCO for 2025 and the results of profit sharing for 2023.
ACM bases cost estimates for 2025 on realized costs in 2023, as found in the financial statements of STUCO.
Profit sharing and cost estimates are both calculated in this file. In previous years, profit sharing was a separate file.
Legend for the cell and sheet colors
Cell colors (for numbers) | Description
123 | Data and input (source required)
123 | Value that is taken from another sheet or cell without calculation
246 | Calculated value
369 | Result/calculated value that is used in another sheet
Empty cell (not zero) used in a formula range
Special attention:
385 | Value or calculation that needs special attention or explanation
386.4159 | Input or calculation that is not yet up-to-date or work in progress
Sheet tab colors
Model sheets
Result | Sheet with result/output
Data | Sheet with input
Calculation | Sheet with calculations
Calculation | Sheet that is not yet up-to-date/work in progress
Explanatory sheets
Input --> | Empty sheet used for indexing
Explanation | Standardized sheets with general information about this file
[ END OF SHEET ]
Note on B22: At all times a (group of) pink cell(s) needs an explanantion on its special nature. This explanation will be added through this remark box.

## Sources and specifics
Source overview and specific applications
Source overview
in the overview below, ACM lists the sources that are used for data and calculations in this file.
Each input sheet contains a column 'Source', in which the sources are referred to by their shortened name. These sources are further explained in the table below.
No. | Shortened name | External file name | Additional information about this source | Other remarks
| As referred to in Source column | Exact file name | Date received, email, URL, file location
1 | CPI CBS |  | https://opendata.cbs.nl/statline/#/CBS/nl/dataset/84046NED/table
2 | Wettelijke rente CNL |  | https://wetten.overheid.nl/BWBR0030649/2011-11-18
3 | ACM WACC decision 2026-2028 | Besluit WACC Caribisch Nederland 2023-2025 | https://www.acm.nl/nl/publicaties/wacc-elektriciteit-en-drinkwater-caribisch-nederland-2023-2025
4 | ACM Method decision 2026-2031 | Methodebesluit elektriciteit en drinkwater Caribisch Nederland 2020-2025 | Methodebesluit elektriciteit en drinkwater Caribisch Nederland 2020-2025 ¦ ACM.nl
5 | Overview of electricity production | 10. STUCO Overview of Prod Elec p.m. in 2024 (EY PBC #36 UA)
6 | Electricity connections 2024 | 7. STUCO Electricity connections by KVA in 2024
7 | Water production | 17. An Overview of the production of drinking Water in M3 in 2024
8 | Water connections | 14. STUCO Drinking Water Connections for 2024
9 | Water distribution per category | 18. An Overview of the distributed drinking Water per category in 2024 per month
10 | Net losses electricity | 13. WP 8143 STUCO Net Losses Electricity 2024 (EY PBC #35UA)
11 | Net losses water | 19. STUCO Net Losses of drinking water in 2024 (EY PBC #39UA)
12 | New water connections | 15. STUCO New Drinking Water Connections for 2024
13 | Electricity for water | 20. STUCO Overview electricity used for Production and Distribution of drinking water in 2024
14 | Estimated water production | 28. STUCO estimation of distributed Water M3 per category for 2026
15 | Estimated net losses electricity | 25. STUCO Estimation of Net Losses Electricity 2026 (WP 8143 (A) Electricity Usage Summary Revenue Analysis (EY E1))
16 | Estimated net losses water | 30. STUCO Estimation of Net Losses of drinking water in 2025 WP 8144 (A) Water Summ Rev Analysis UPDATED
17 | Estimated electricity production | 24. STUCO estimation of production of Electricity in KWh for 2026 distributed by first half and second half 2026
18 | Estimated connections KVA | 21. STUCO Electricity connections by KVA in projection 2026
19 | Estimated connections water | 26. STUCO Estimation of Drinking Water Connections for 2026
20 | Tariff model 2024 | Tariff calculation STUCO 2024 - 477547
21 | Tariff model July 2024 | Berekening variabel gebruikstarief elektriciteit STUCO per 1 juli 2024
22 | Tariff model 2025 | Berekening tarieven stuco 2025
23 | Tariff model july 2025 | Berekening variabel gebruikstarief elektriciteit STUCO per 1 juli 2025
24
25
26
27
28
29
30
31
32
33
34
35
Explanation of the use of specific Excel-applications and other details
In its calculation files, ACM seeks to use simple and easy-to-follow calculations as much as possible, and seeks to avoid the use of complex formulas or specific applications.
If ACM does use cell or range references, macros, or other more complex functions in Excel, these will be explained on this sheet.
[ END OF SHEET ]

## Result
Result
Description
The outcome of the tariff calculations is displayed on this sheet.
Description | Unit | Constant | Applicable period | Remarks
Overview tariffs electricity 2026
Production price
Production price excl fuel | USD/kWh, pl 2026 | 0.2033 | 2026 whole year
Fuel component January 2025 | USD/kWh, pl 2026 | 0.095098 | January 2026
Production price incl fuel | USD/kWh, pl 2026 | 0.2984 | 2026 whole year
Variable distribution tariff
Variable distribution tariff | USD/kWh, pl 2026 | 0.3252 | January - June 2026
Fixed distribution tariff per kVA category
Income per kVA per month |  | 9.0536
3,2 | USD/month, pl 2026 | 28.9715 | 2026 whole year
7,7 | USD/month, pl 2026 | 69.7127 | 2026 whole year
11,0 | USD/month, pl 2026 | 99.5895 | 2026 whole year
13,9 | USD/month, pl 2026 | 125.4828 | 2026 whole year
13,3 | USD/month, pl 2026 | 120.4128 | 2026 whole year
19,0 | USD/month, pl 2026 | 172.0183 | 2026 whole year
23,9 | USD/month, pl 2026 | 216.7431 | 2026 whole year
30,4 | USD/month, pl 2026 | 275.2293 | 2026 whole year
38,0 | USD/month, pl 2026 | 344.0366 | 2026 whole year
47,5 | USD/month, pl 2026 | 430.0457 | 2026 whole year
60,8 | USD/month, pl 2026 | 550.4586 | 2026 whole year
76,0 | USD/month, pl 2026 | 688.0732 | 2026 whole year
85,5 | USD/month, pl 2026 | 774.0823 | 2026 whole year
95,0 | USD/month, pl 2026 | 860.0915 | 2026 whole year
119,7 | USD/month, pl 2026 | 1083.7153 | 2026 whole year
175,0 | USD/month, pl 2026 | 1584.3791 | 2026 whole year
200,0 | USD/month, pl 2026 | 1810.7189 | 2026 whole year
Tariff for reconnection
Tariff for reconnection | USD, pl 2026 | 40 | 2026 whole year | The reconnection fee is set fixed at USD 40.
Tariff for connection
Connection 3,2 and 7,7 kVA (incl. up to 25 meters) | USD, pl 2026 | 311.2399 | 2026 whole year
Tariff for road crossing for 3,2 kVA connection, per meter | USD, pl 2026 | 193.155 | 2026 whole year
Tariff for road crossing for 7,7 kVA connection, per meter | USD, pl 2026 | 209.6959 | 2026 whole year
Overview tariffs drinking water 2026
Production price
Production price per m3 (incl electricity costs) | USD/m3, pl 2026 | 7.928 | 2026 whole year
Variable distribution tariff
Variable distribution tariff water 2025 | USD/m3, pl 2026 | 14.936 | 2026 whole year
Fixed distribution tariff
Fixed distribution tariff | USD/month, pl 2026 | 82.6646 | 2026 whole year
Tariff for reconnection 2025
Tariff for reconnection | USD, pl 2026 | 40 | 2026 whole year | The reconnection fee is set fixed at USD 40.
New connection tariff 2025
Standard connection (incl. up to 25 meters) | USD, pl 2026 | 286.748 | 2026 whole year
Tariff for road crossing for standard connection, per meter | USD, pl 2026 | 199.1428 | 2026 whole year
Distribution by truck
Price distribution by truck | USD/m3, pl 2026 | 19.241 | 2026 whole year

## Input -->
This sheet seperates different types of sheets and is intentionally left blank

## Parameters
Parameters
Description data
This sheet displays the percentages used for the CPI, WACC, legal fixed interest rate and the profit sharing.
Explanatory notes
The development of the CPI of Q3 year T and Q3 year T-1 will be used as the estimated inflation for the year T+1. The estimated inflation is rounded to one decimal.
Description | Unit | Constant | Row total | Source | Remarks
Data for indexation
CPI
Estimated inflation 2025 | % | 3.2% |  | CPI CBS
Estimated inflation 2026 | % | 1.9% |  | CPI CBS
Legal interest rate
Wettelijke rente CNL ('legal fixed interest rate') | % | 3% |  | Wettelijke rente CNL
Compounded legal fixed interest rate over 2024 - 2026 | % | 6.09%
WACC
WACC 2024 - adjusted risk free rate |  |  |  |  | ACM uses the adjusted WACC to correct for the risk free rate
Adjusted WACC 2024 - Electricity production |  | 8.38% |  | ACM updated WACC 2024
Adjusted WACC 2024 - Electricity distribution |  | 7.28% |  | ACM updated WACC 2024
Adujusted WACC 2024 - Water production and distribution |  | 8.25% |  | ACM updated WACC 2024
WACC 2026 |  |  |  |  | ACM uses WACC 2025 to calculate estimated cost of capital 2025.
WACC 2026 - Electricity production | % | 8.89% |  | ACM WACC decision 2026-2028
WACC 2026 - Electricity distribution | % | 8.08% |  | ACM WACC decision 2026-2028
WACC 2026 - Water production and distribution | % | 7.13% |  | ACM WACC decision 2026-2028
Profit-sharing percentage
Profit-sharing percentage | % | 50% |  | ACM method decision 2026-2031
[ END OF SHEET ]

## Historical data
Historical data
Description data
This sheet displays historical data over 2024. This data comes from Historic data that ACM recieved from STUCO.
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Source | Remarks
Volumes data 2024
Realized volumes
Unit | (see column) |  |  | kWh | kVA | m3 | connections | m3
Realized volume 2024 | (see column) |  |  | 17332126.05 | 19062.5075 | 186919 | 1178.75 | 1036.6 | [5] Overview of electricity production, "Elec meter readings month (2024), cell U71 - calculation based on [6] Electricity connections - [7] Water production , "2024 Prod of Water", cell O11; - Calculation based on [8] Water connections - [9] Water distribution per category, "2024 Distr of Water, cell N6
Production by GTI | kWh |  |  | 89764.1 |  |  |  |  | [10] Electricity production 2024, sheet "Elec Meter readings Month(2024), cell W45
Production excluding GTI | kWh |  |  | 17242361.95 | [5 empty] | Costs of emergency production are renumerated separately. Therefore, production by GTI is omitted from realized volume for profit sharing and for the income level 2025. Production by GTI is included in the volume correction, because electricity produced by GTI was distributed to consumers.
Network losses 2024 | % |  |  |  | 7.613% |  | 33.92% |  | Net losses electricity , "8143 Elec usage 2024" cell O10; Net losses water, "8144Water usage 2024 Correc", cell O18
Income associated with new water connections
Number of new connections in 2024 | # | [5 empty] | 145 |  | New water connections, "2024 New Water Connections", cell N5
Tariff for new connections in 2024 | USD, pl 2024 | [5 empty] | 272.9402 |  | Tarif model STUCO 2024, sheet "result", cell H63. | Excluding mark-up for road crossings.
Income associated with new connections | USD, pl 2024 | [5 empty] | 39576.3345 |  |  | This calculation is added, since the income from new drinking water connections is lower than the associated costs, due to a specific tariff arrangement.
Delivery of drinking water by truck 2024
Realisation of water distributed by line in 2024 | m3 | [5 empty] | 182453.83 |  | [9] Water distribution per category, "2024 Distr of Water, cell N5
Percentage water distribution by truck 2024 | % | [6 empty] | 0.5649%
Data for production yield
Production yield electricity
Realized liters of fuel consumed for production in 2024 | liters |  |  | 3138853.4528 |  |  |  |  | Fuel model, sheet "Data production"; sum of cells H14:S14
Realized production volume by fuel in 2024 | kWh |  |  | 11973194 |  |  |  |  | Fuel model, sheet "Data production"; sum of cells H14:S15
Production yield drinking water
Energy consumption for drinking water production | kWh |  |  |  |  | 971160 |  |  | Electricity for water, sum of row 5, 9 and 10. | Assets in row 5, 9 and 10 are related to water production (Source: e-mail sent by STUCO on September 27 2023)
Fuel data
Corrections as calculated in fuel model
Fuel cost correction 2024 | USD, pl 2024 |  | 476086.8858 | 476086.8858 |  |  |  |  | Fuel model, sheet "Result", cell H12
Fuel cost correction 2025 | USD, pl 2025 |  | 138730.1827 | 138730.1827
Fuel component correction May - October 2025 | USD, pl 2025 |  | 34244.2221 |  | 34244.2221 |  |  |  | Fuel model, sheet "Result", cell H13
Most recent fuel price
Most recent fuel price | USD/gallon | 2.9674 | [6 empty] | Delat Petroleum Inv #20250930
US gallon to liter |  | 3.7854
Most recent fuel price | USD/liter | 0.7839
[ END OF SHEET ]

## Estimates
Estimates for 2026
Description data
On this sheet the ACM imports estimates for 2026. This data comes from Forward looking information that ACM recieved from STUCO.
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Source | Remarks
Estimated production and distribution data
Estimated production data water
Estimated production volume 2026 | m3 |  |  |  |  | 229530 |  |  | [14] Estimated water production, "2026 Distr of Water", cell N7
Estimated distribution data
Estimated network losses 2026 in % | % |  |  |  | 9.5% |  | 45% |  | Email to ACM 14-10-2025, [15] Estimated Net losses electricity , "8143Elec usage 2026", cell O10; [16] Estimated net losses water, "8144Water usage 2026 Correc"", cell O20
Estimated production data electricity
Estimated production by solar in 2026 | kWh |  |  | 9609000 |  |  |  |  | [17] Estimated electricity production, "Elec Meter readings Month(2026)", cell N6
Estimated production by fuel in 2026 | kWh |  |  | 8276720.4 |  |  |  |  | [17] Estimated electricity production, "Elec Meter readings Month(2026)", cell N5
Estimated total production in 2026 | kWh |  |  | 17885720.4
Estimated total production first half 2026 | kWh |  |  | 8406288.27 |  |  |  |  | [17] Estimated electricity production, "Elec Meter readings Month(2026)", cell G9
Estimated share of production with fuel in 2026 | % |  |  | 46.28%
Estimated delivery of drinking water by truck 2026
Estimated drinking water delivered by truck in 2026 | m3 | [6 empty] | 2530 | [14] Estimated water production, "2026 Distr of Water", cell N6
Estimated percentage of drinking water delivered by truck in 2026 | % | [6 empty] | 1.102%
Estimated production yield
Estimated production yield electricity
Realized liters of fuel consumed for production in 2024 | liters |  |  | 3138853.4528
Realized production volume by fuel in 2024 | kWh |  |  | 11973194
Estimated fuel efficiency 2026 | liters/kWh |  |  | 0.26216
Estimated production yield drinking water
Realized water production in 2024 | m3 |  |  |  |  | 186919
Energy consumption for drinking water production | kWh |  |  |  |  | 971160
Production yield based on electricity | kWh/m3 |  |  |  |  | 5.1956
Tariff categories and volumes 2026
Number of connections per kVA |  |  |  |  | # connections |  |  |  |  | For electricity, the tariff category is determined by the kVA of the connection.
3.2 | # |  |  |  | 206.3333 |  |  |  | Calculation based on [18] Estimated connections KVA | Connections for internal use are added to the total number of connections for their kVA category
7.7 | # |  |  |  | 1510.3621
11 | # |  |  |  | 137.3333
13.86 | # |  |  |  | 43.3333
13.3 | # |  |  |  | 34.5
19 | # |  |  |  | 28
23.94 | # |  |  |  | 39
30.4 | # |  |  |  | 13
38 | # |  |  |  | 9
47.5 | # |  |  |  | 13
60.8 | # |  |  |  | 4
76 | # |  |  |  | 5
85.5 | # |  |  |  | 3
95 | # |  |  |  | 3
119.7 | # |  |  |  | 0
175 | # |  |  |  | 0
200 | # |  |  |  | 3
Total estimated volume | kVA |  |  |  | 19445.2312
Number of connections for water
Expected number of connections in 2026 | # | [5 empty] | 1292.0739 |  | Water connections 2026, "2026 Connections", O5.
Total estimated volume per category
Unit | (see column) |  |  | kWh | kVA | m3 | connections | m3
Estimated volume 2026 | (see column) |  |  | 17885720.4 | 19445.2312 | 229530 | 1292.0739 | 2530
[ END OF SHEET ]

## Data ACM
Data ACM
Description data
This sheet displays data sourced from ACM tariff models.
Explanatory notes
Data from tariff model 2024 is used for the volume correction and profit sharing
Data from tariff model 2025 is used for the energy cost correction and tariffs associated with connection activities.
Additional costs related to new water connections is calculated using data from tariff model 2016.
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Source | Remarks
Data from tariff model 2024 with adjusted WACC
Estimated fixed/variable costs from tariffs 2024, adjusted for WACC
Total estimated fixed costs 2024 | USD, pl 2024 |  |  | 2493546.5316 | 509699.9188 | 787065.4269 | 705947.2598 | 9979.1817 | Calculation based on [20] Tariff model 2024, sheet "Calculation cost base 2024", row 69 | Also contains correction for inflation
Total estimated regular variable capital costs 2024 (excl. addition new water connections) | USD, pl 2024 | [5 empty] | 211119.3598 |  | Calculation based on [20] Tariff model 2024, sheet "Calculation cost base 2024", row 70 | Also contains correction for inflation
Total estimated variable costs 2024 per unit (excl. addition for network growth) | USD, pl 2024 / # |  |  | 0.026452 | 26.3938 | 0.43473 | 259.4133 | 1.0356 | Calculation based on [20] Tariff model 2024, sheet "Calculation cost base 2024", row 71-72 | Also contains correction for inflation
Extra estimated variable costs 2024 for network growth per new water connection | USD, pl 2024 / # | [5 empty] | 729.3039 |  | Calculation based on [20] Tariff model 2024, sheet "Calculation cost base 2024", row 73 | Also contains correction for inflation
Data from tariff model 2024 and July 2024
Estimated fixed/variable costs from tariffs 2024
Total estimated fixed costs 2024 | USD, pl 2024 |  |  | 2397353.46 | 489645.4971 | 755480.4789 | 674414.5077 | 9553.0878 | [20] Tariff model 2024, sheet "Calculation cost base 2024", row 69
Total estimated regular variable capital costs 2024 (excl. addition new water connections) | USD, pl 2024 | [5 empty] | 185029.7146 |  | [20] Tariff model 2024, sheet "Calculation cost base 2024", row 70
Total estimated variable costs 2024 per unit (excl. addition for network growth) | USD, pl 2024 / # |  |  | 0.026161 | 25.3105 | 0.42995 | 256.5597 | 0.97279 | [20] Tariff model 2024, sheet "Calculation cost base 2024", row 71-72
Extra estimated variable costs 2024 for network growth per new water connection | USD, pl 2024 / # | [5 empty] | 638.4061 |  | [20] Tariff model 2024, sheet "Calculation cost base 2024", row 73
Estimated volume 2024
Unit | (see column) |  |  | kWh | kVA | m3 | connections | m3
Estimated volume 2024 | (see column) |  |  | 16551729.998 | 18840.8373 | 197952.558 | 1149.8494 | 1979.5256 | [20] Tariff model 2024, sheet "Estimates for 2024", cell L22 cell M65; cell N14; cell O68; cell P27.
Realized volume 2022 | (see column) | [5 empty] | 1036.1667 |  | [20] Tariff model 2024, sheet "historical data", cell O37.
Estimated network losses 2024 | % |  |  |  | 12% |  | 22% |  | [20] Tariff model 2024, sheet "Estimates for 2024", cell L22 cell M16 & O17
Production price 2024
Production price incl fuel (Jan-Jun 2024) | USD/kWh, pl 2024 |  |  | 0.38344 |  |  |  |  | [20] Tariff model 2024, sheet "Result", cell H16.
Production price incl fuel (Jul-Dec 2024) | USD/kWh, pl 2024 |  |  | 0.35716 |  |  |  |  | [21] Tariff model July 2024, sheet "Result", cell H40.
Production price 2024 | USD/m3, pl 2024 |  |  |  |  | 5.5024 |  |  | [20] Tariff model 2024, sheet "Result", cell H16.
Additionals to fixed capital costs for major occurance phase 3 | USD, pl 2024 |  |  | 81078.496 |  |  |  |  | [20] Tariff model 2025, sheet "Major occurences", cell L42
Data from tariff model 2025 and July 2025
Data for the energy cost correction
Total estimated water production 2025 | m3 |  |  |  |  | 201600 |  |  | [22] Tariff model 2025, sheet "Estimates for 2025", cell N14.
Variable distribution tariff per 1 January 2025 | USD, pp 2025/kWh |  |  |  |  | 0.2961 |  |  | [22] Tariff model 2025, sheet "Result", cell H19
Variable distribution tariff per 1 July 2025 | USD, pp 2025/kWh |  |  |  |  | 0.2765 |  |  | [23] Tariff model July 2025, sheet "Result", cell H40.
Production yield based on electricity | kWh/m3 |  |  |  |  | 4.5758 |  |  | [22] Tariff model 2025, sheet "Estimates for 2025", cell N40.
Expected share of water distribution in second half of the year 2025 | % |  |  |  |  | 50% |  |  | Expected share of 50% as is assumed in the 2025 decisions.
Tariffs associated with connection activities
Tariff for new water connection in 2025 | USD, pl 2025 | [5 empty] | 281.4014 |  | [22] Tariff model 2025, sheet "Result", cell H65
Tariff for road crossing, per meter | USD, pl 2025 | [5 empty] | 195.4296 |  | [22] Tariff model 2025, sheet "Result", cell H66
Tariff new electricity connection 3,2 and 7,7 kVA (incl. up to 25 meters) | USD, pl 2025 |  |  |  | 305.4366 |  |  |  | [22] Tariff model 2025, sheet "Result", cell H46
Tariff for road crossing for 3,2 kVA connection, per meter | USD, pl 2025 |  |  |  | 189.5535 |  |  |  | [22] Tariff model 2025, sheet "Result", cell H47
Tariff for road crossing for 7,7 kVA connection, per meter | USD, pl 2025 |  |  |  | 205.7859 |  |  |  | [22] Tariff model 2025, sheet "Result", cell H48
Reconnection fee | USD, pl 2025 |  |  |  | 40 |  | 40 |  | [22] Tariff model 2025, sheet "Result", cell H43 & cell H62
Additional costs related to new water connections 2026
Data from tariff decisions 2018
Number of connections 2016 | # | [5 empty] | 518 |  | STUCO Water usage analysis 2016 | Total number of consumers billed divided by 12
RAB water distribution 2016 | USD | [5 empty] | 307847 |  | Tariff model 2018, sheet "Input costs and subsidies", cell I20
Depreciation water distribution 2016 | USD | [5 empty] | 24424 |  | Tariff model 2018, sheet "Input costs and subsidies", cell I21
Lost subsidy income
Lost subsidy income | USD, pl 2024 |  |  |  | 9113.529 |  | 30286.2271 |  | ACM calculation lost subsidy income, sheet "Lost subsidy income 2024", Cell E94 and E107
[ END OF SHEET ]

## Financial data
Cost base 2024
Description data
This sheet displays STUCO's cost base over 2024. This is used to calculate STUCO's income level for 2026 and profit sharing over regular costs for 2024.
This data is sourced from underlying ACM models based on Financial information that ACM received from STUCO.
Major occurrences in 2025 or 2026 are added to the cost base in the calculation of income level for 2026.
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Source | Remarks
Regular cost base
Input from the OPEX-model
Operational costs (excl fuel) 2024 | USD, pl 2024 |  | 5086371.45 | 2076797.0071 | 1376192.1909 | 898450.341 | 734931.911 |  | OPEX-model, sheet "Output"; row 11
Other income 2024 | USD, pl 2024 |  | 162360.32 | 886.9424 | 128458.4306 | 422.3535 | 32592.5935 |  | OPEX-model, sheet "Output"; row 12
Operational costs (excl fuel) 2024 for Profit Sharing | USD, pl 2024 |  | 5086371.45 | 2076797.0071 | 1376192.1909 | 898450.341 | 734931.911 |  | OPEX-model, sheet "Output"; row 18
Other income 2024 for Profit Sharing | USD, pl 2024 |  | 162360.32 | 886.9424 | 128458.4306 | 422.3535 | 32592.5935 |  | OPEX-model, sheet "Output"; row 19
Input from the RAB-model
RAB-value ultimo 2024 | USD |  | 10211594.4798 | 3498800.5177 | 2018113.3257 | 1340233.1679 | 3342484.5729 | 11962.8956 | RAB-model, sheet "Output"; row 16 | RAB-value does not relate to any price level due to the use of a nominal WACC.
Depreciation 2024 | USD |  | 1071030.3548 | 458415.4079 | 238571.9973 | 137450.8482 | 235420.0518 | 1172.0496 | RAB-model, sheet "Output"; row 17 | Depreciation does not relate to any price level due to the use of a nominal WACC.
Allocation key fixed/variable costs
Variable part of operational costs | % |  |  | 19.41% | 27.58% | 12.89% | 30.23% | 30.23% | Tariff model 2025, sheet "Historical data", row 25. | Based on analysis by ACM on fixed/variable costs in the Caribbean Netherlands and as used in the 2024 decisions.
Fixed part of operational costs | % |  |  | 80.59% | 72.42% | 87.11% | 69.77% | 69.77%
Variable part of capital costs | % |  |  | 0% | 50% | 0% | 0% | 50% | Tariff model 2025, sheet "Historical data", row 26. | Based on assumption by ACM on fixed/variable costs in the Caribbean Netherlands and as used in the 2024 decisions.
Fixed part of capital costs | % |  |  | 100% | 50% | 100% | 100% | 50%
Additions to cost base (major occurrences)
Electricity production by GTI
Cost of emergency production | USD |  |  | 50981.92 |  |  |  |  | OPEX model, sheet "Assessment OPEX", row 256
Additions to capital costs due to network growth
Number of connections 2016 | # | [5 empty] | 518
RAB water distribution 2016 | USD | [5 empty] | 307847
Depreciation water distribution 2016 | USD | [5 empty] | 24424
Number of connections 2024 | # | [5 empty] | 1178.75
RAB water distribution 2024 | USD | [5 empty] | 3342484.5729
Depreciation water distribution 2024 | USD | [5 empty] | 235420.0518
Addtional RAB per extra connection | USD/# | [5 empty] | 4592.7167
Annual depreciation per extra connection | USD/# | [5 empty] | 319.3281
Solar park phase 3
Total costs phase 3 | USD |  |  | 10910300 |  |  |  |  | Budget 2024, page 18
Subsidy EZK phase 3 | USD |  |  | 10100000 |  |  |  |  | Subsidy grant phase 3
Contribution STUCO to phase 3 | USD |  |  | 810300
WACC electricity production 2025 | % |  |  | 8.89% |  |  |  |  | ACM WACC decision 2024-2026
Capitalized construction interest 2025 | USD |  |  | 72035.67
Estimated RAB value at time of capitalization | USD |  |  | 882335.67
Estimated date of capitalization |  |  |  | 2026-01-31 |  |  |  |  | E-mail sent by STUCO on October 16 2025
Depreciation rate | % |  |  | 7% |  |  |  |  | E-mail sent by STUCO on November 22 2024
Annual depreciation | USD |  |  | 61763.4969
Depreciation in 2026 | USD |  |  | 56648.2449
Estimated RAB value ultimo 2026 | USD |  |  | 825687.4251
Average RAB value 2026 | USD |  |  | 854011.5475
Period in use | Months |  |  | 11.0062
Average RAB value 2026, by ratio of months in use | USD |  |  | 783282.3229
[ END OF SHEET ]
Note on M29: Costs related to network growth are calculated separately (see below)

## Calculations corrections -->
This sheet seperates different types of sheets and is intentionally left blank

## WACC correction 2024
WACC correction 2024
Description data
On this sheet ACM calculates the WACC correction 2024.
In the WACC decision 2024-2026, ACM decided to include a yearly ex post recalculation of the risk free rate in the tariff decisions.
The calculation is done by comparing the difference between estimated fixed and variable costs before adjusting the risk free rate with the estimated fixed and variable costs after adjusting the risk free rate.
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Remarks
Input
Volume
Unit | (see column) |  |  | kWh | kVA | m3 | connections | m3
Realized volume 2021 | (see column) | [5 empty] | 1036.1667
Realized volume 2024 | (see column) |  |  | 17242361.95 | 19062.5075 | 186919 | 1178.75 | 1036.6
Fixed/variable costs before WACC correction
Total estimated fixed costs 2024 | USD, pl 2024 |  | 4326447.0315 | 2397353.46 | 489645.4971 | 755480.4789 | 674414.5077 | 9553.0878
Total estimated regular variable capital costs 2024 (excl. addition new water connections) | USD, pl 2024 | [5 empty] | 185029.7146
Total estimated variable costs 2024 per unit (excl. addition for network growth) | USD, pl 2024 / # |  |  | 0.026161 | 25.3105 | 0.42995 | 256.5597 | 0.97279
Extra estimated variable costs 2024 for network growth per new water connection | USD, pl 2024 / # | [5 empty] | 638.4061
Fixed/variable costs after WACC correction
Total estimated fixed costs 2024 | USD, pl 2024 |  | 4506238.3188 | 2493546.5316 | 509699.9188 | 787065.4269 | 705947.2598 | 9979.1817
Total estimated regular variable capital costs 2024 (excl. addition new water connections) | USD, pl 2024 | [5 empty] | 211119.3598
Total estimated variable costs 2024 per unit (excl. addition for network growth) | USD, pl 2024 / # |  |  | 0.026452 | 26.3938 | 0.43473 | 259.4133 | 1.0356
Extra estimated variable costs 2024 for network growth per new water connection | USD, pl 2024 / # | [5 empty] | 729.3039
Calculation
WACC correction
WACC correction for fixed costs 2024 | USD, pl 2024 |  |  | 96193.0716 | 20054.4217 | 31584.948 | 31532.7521 | 426.0939
WACC correction for regular variable capital costs 2024 (excl. addition new water connections) | USD, pl 2024 | [5 empty] | 26089.6452
WACC correction for variable costs 2024 (excl. addition for network growth) | USD, pl 2024 |  |  | 5017.0517 | 20651.2702 | 893.8473 | 3363.6171 | 65.1504
WACC correction extra estimated variable costs 2024 for network growth per new water connection | USD, pl 2024 | [5 empty] | 12960.5098
Total WACC correction
WACC correction 2024 | USD, pl 2024 |  | 248832.379 | 101210.1233 | 40705.6919 | 32478.7953 | 73946.5242 | 491.2443
[ END OF SHEET ]

## Volume-effect 2024
Calculation volume-effect correction 2024
Description calculation
On this sheet the ACM calculates the correction for the volume effect.
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Remarks
Relevant data for volume-effect correction
Estimated fixed costs before WACC correction
Total estimated fixed costs for 2024 | USD, pl 2024 |  | 4326447.0315 | 2397353.46 | 489645.4971 | 755480.4789 | 674414.5077 | 9553.0878
Volume
Unit | (see column) |  |  | kWh | kVA | m3 | connections | m3
Estimated volume 2024 | (see column) |  | 16771652.7682 | 16551729.998 | 18840.8373 | 197952.558 | 1149.8494 | 1979.5256
Realized volume 2024 | (see column) |  | 17540322.9075 | 17332126.05 | 19062.5075 | 186919 | 1178.75 | 1036.6
Total lost subsidy income as a result of rising volumes in 2024 | USD, pl 2024 |  |  |  | 9113.529 |  | 30286.2271
Calculation volume-effect correction
Calculation coverage of fixed costs
Realized income to cover fixed costs 2024 | USD, pl 2024 |  | 4415531.6523 | 2510386.066 | 495406.3787 | 713371.209 | 691365.4208 | 5002.5779
Volume-effect correction 2024 | USD, pl 2024 |  | -49684.8647 | -113032.606 | 3352.6474 | 42109.2698 | 13335.314 | 4550.51 | The volume effect for distribution is corrected for the fact that subsidy income does not increase with rising volume
[ END OF SHEET ]

## Profit Sharing 2024
Calculation profit sharing
Description calculation
On this sheet ACM calculates the profit sharing correction for regular costs and for network losses.
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Remarks
Relevant data for profit sharing correction
Parameters
WACC 2024 - adjusted risk free rate | % |  |  | 8.38% | 7.28% | 8.25% | 8.25% | 8.25%
Profit sharing-percentage | % | 50%
Estimated costs after WACC correction
Estimated fixed costs 2024 | USD, pl 2024 |  | 4506238.3188 | 2493546.5316 | 509699.9188 | 787065.4269 | 705947.2598 | 9979.1817
Total estimated regular variable capital costs 2024 (excl. addition new water connections) | USD, pl 2024 | [5 empty] | 211119.3598
Estimated variable costs 2024 per unit | USD, pl 2024 / # |  |  | 0.026161 | 25.3105 | 0.42995 | 259.4133 | 0.97279
Extra estimated variable costs 2024 for network growth per new water connection | USD, pl 2024 / # | [5 empty] | 729.3039
Realized costs
RAB-value ultimo 2024 | USD |  | 10211594.4798 | 3498800.5177 | 2018113.3257 | 1340233.1679 | 3342484.5729 | 11962.8956
Depreciation 2024 | USD |  | 1071030.3548 | 458415.4079 | 238571.9973 | 137450.8482 | 235420.0518 | 1172.0496
Operational costs 2024 (excl fuel) | USD, pl 2024 |  | 5086371.45 | 2076797.0071 | 1376192.1909 | 898450.341 | 734931.911 | 0
Other income 2024 | USD, pl 2024 |  | 162360.32 | 886.9424 | 128458.4306 | 422.3535 | 32592.5935 | 0
Realized volumes
Unit | (see column) |  |  | kWh | kVA | m3 | connections | m3
Realized volume 2022 | (see column) | [5 empty] | 1036.1667
Realized volume 2024 | (see column) |  |  | 17242361.95 | 19062.5075 | 186919 | 1178.75 | 1036.6
Percentage water distribution by truck 2024 | % | 0.5649%
Split water distribution
Realized costs (after split water distribution) | [8 empty] | ACM splits cost of water distribution between distribution by line and by truck, using realized percentage of water by truck as allocation key.
RAB-value ultimo 2024 | USD |  | 10211594.4798 | 3498800.5177 | 2018113.3257 | 1340233.1679 | 3323601.7379 | 30845.7306
Depreciation 2024 | USD |  | 1071030.3548 | 458415.4079 | 238571.9973 | 137450.8482 | 234090.0836 | 2502.0178
Operational costs 2024 (excl fuel) | USD, pl 2024 |  | 5086371.45 | 2076797.0071 | 1376192.1909 | 898450.341 | 730780.0301 | 4151.8809
Other income 2024 | USD, pl 2024 |  |  | 886.9424 | 128458.4306 | 422.3535 | 32408.4668 | 184.1267
Profit sharing for regular costs
Total realized costs
Capital cost 2024 (RAB*WACC+ depreciation) | USD, pl 2024 |  |  | 751614.8913 | 385490.6475 | 248020.0845 | 508287.227 | 5046.7906
Net operational costs 2024 (OPEX excl fuel - other income) | USD, pl 2024 |  |  | 2075910.0647 | 1247733.7602 | 898027.9875 | 698371.5632 | 3967.7543
Estimated and realized costs 2024
Total estimated costs for 2024 adjusted for realized volume | USD, pl 2024 |  | 6142061.1346 | 2944625.0896 | 992181.4718 | 867430.4269 | 1326836.5685 | 10987.5778
Total realized costs for 2024 | USD, pl 2024 |  | 6822470.7708 | 2827524.956 | 1633224.4077 | 1146048.072 | 1206658.7902 | 9014.5448
Calculation profit sharing for regular costs 2024
Realized profit (loss) over 2024 for profit sharing | USD, pl 2024 |  | -680409.6362 | 117100.1336 | -641042.9359 | -278617.6451 | 120177.7783 | 1973.033 | Negative amount indicates realized costs were higher than estimated.
Profit sharing correction 2024 | USD, pl 2024 |  |  | -58550.0668 | 320521.468 | 139308.8225 | -60088.8892 | -986.5165
Profit sharing for network losses
Input for profit sharing over network losses
Production price incl fuel Jan-Jun 2024 | USD, pl 2024/kWh |  |  | 0.38344
Production price incl fuel Jul-Dec 2024 | USD, pl 2024/kWh |  |  | 0.35716
Average production price 2024 | USD, pl 2024/kWh |  |  | 0.3703 |  | 5.5024 |  |  | ACM assumes an even distribution between the first and second half of 2024
Estimated network losses 2024 | % |  |  |  | 12% |  | 22%
Realized network losses 2024 | % |  |  |  | 7.613% |  | 33.92%
Estimated and realized costs of network losses 2024
Estimated costs of network losses 2024 | USD, pl 2024 |  |  |  | 766174.8833 |  | 226270.6192
Realized costs of network losses 2024 | USD, pl 2024 |  |  |  | 486090.1849 |  | 348866.4775
Calculation profit sharing for network losses 2024
Realized profit (loss) over network losses 2024 | USD, pl 2024 |  |  |  | 280084.6984 |  | -122595.8584 |  | Negative amount indicates realized costs were higher than estimated.
Profit sharing add-on for network losses 2024 | USD, pl 2024 |  |  |  | -140042.3492 |  | 61297.9292 |  | As a result of profit sharing, the income in 2024 will be increased by 50% of the difference between the realized and estimated costs.
[ END OF SHEET ]
Note on M19: Only operational costs. Estimated variable capital costs per new connection are listed in O20.

## Energy cost correction 2025
Calculation of the energy cost correction for water production
Description data
This sheet contains the calculation of the energy cost correction for the water production.
The correction for energy costs is based on the difference between the variable distribution tariff, as used in the calculation of the drinking water production price, and the variable distribution tariff that is set for the second half of the year.
The difference between both prices results in an under- or overrecovery of electricity costs for the drinking water producer, which the energy cost correction corrects for.
The energy cost correction is calculated for 2025, based on the variable distribution tariff as set in the semi-annual tariff decision for electricity distribution.
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Remarks
Data on the energy cost correction
Data on energy costs
Total expected water production 2025 | m3 |  |  |  |  | 201600
Variable distribution tariff per 1 January 2025 | USD, pl 2025/kWh |  |  |  |  | 0.2961
Variable distribution tariff per 1 July 2025 | USD, pl 2025/kWh |  |  |  |  | 0.2765
Required amount of electricity for drinking water production 2025 | kWh/m3 |  |  |  |  | 4.5758
Estimated share of water distribution in 2nd half of 2025 | % |  |  |  |  | 0.5
Calculation of the energy cost correction
Difference variable tariff per January 1st and per July 1st 2025 | USD, pl 2025/kWh |  |  |  |  | -0.0196
Electricity for drinking water production in 2nd half of 2025 | kWh |  |  |  |  | 461245.311
Energy cost correction 2025 | USD, pl 2025 |  |  |  |  | -9040.4652
[ END OF SHEET ]

## Overview corrections
Overview corrections
Description
This sheet gives an overview of corrections that affect the tariffs for 2026 and converts them to price level 2026.
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Remarks
Input
Parameters
Legal fixed interest rate over 2025 - 2026 | % | 3%
Compounded legal fixed interest rate over 2024 - 2026 | % | 6.09%
Corrections imported from fuel model
Fuel cost correction 2024 | USD, pl 2024 |  |  | 476086.8858
Fuel cost correction 2025 | USD, pl 2025 |  |  | 138730.1827
Fuel component correction May - October 2025 | USD, pl 2025 |  |  |  | 34244.2221
Corrections calculated in tariff model
Volume-effect correction 2024 | USD, pl 2024 |  |  | -113032.606 | 3352.6474 | 42109.2698 | 13335.314 | 4550.51
Profit sharing 2024: regular costs | USD, pl 2024 |  |  | -58550.0668 | 320521.468 | 139308.8225 | -60088.8892 | -986.5165
Profit sharing 2024: network losses | USD, pl 2024 |  |  |  | -140042.3492 |  | 61297.9292
WACC correction 2024 | USD, pl 2024 |  |  | 101210.1233 | 40705.6919 | 32478.7953 | 73946.5242 | 491.2443
Energy cost correction 2025 | USD, pl 2025 |  |  |  |  | -9040.4652
Cost of emergency production 2024 | USD, pl 2024 |  |  | 50981.92
Correction phase 3
Additionals to fixed capital costs for major occurance phase 3 |  |  |  | 81078.496
Estimated volume
Unit | (see column) |  |  | kWh |  | m3 |  | m3
Estimated volume 2026 |  |  |  | 17885720.4 |  | 229530 |  | 2530
Estimated production 1st half of 2026 | kWh |  |  | 8406288.27
Corrections in price level 2026
Corrections to income level
Fuel cost correction | USD, pl 2026 |  | 647972.6653 | 647972.6653
Volume-effect correction 2024 | USD, pl 2026 |  | -52710.673 | -119916.2917 | 3556.8237 | 44673.7244 | 14147.4346 | 4827.636
Profit sharing 2024: regular costs | USD, pl 2026 |  | 360923.2915 | -62115.7658 | 340041.2254 | 147792.7298 | -63748.3025 | -1046.5953
WACC correction 2024 | USD, pl 2026 |  | 263986.2709 | 107373.8198 | 43184.6686 | 34456.754 | 78449.8675 | 521.1611
Energy cost correction 2025 | USD, pl 2026 |  | -9311.6791 |  |  | -9311.6791
Cost of emergency production 2024 | USD, pl 2026 |  | 54086.7189 | 54086.7189
Additionals to fixed capital costs for major occurance phase 3 | USD, pl 2026 |  | -86016.1765 | -86016.1765
Corrections to variable distribution tariff
Fuel component correction May - October 2025 | USD, pl 2026 |  | 35271.5487 |  | 35271.5487
Profit sharing 2024: network losses | USD, pl 2026 |  | -83539.9552 |  | -148570.9282 |  | 65030.9731
Corrections to variable distribution tariff per unit
Fuel component correction May - October 2025 per kWh | USD, pl 2026 / kWh |  |  |  | 0.0041959 |  |  |  | The fuel component correction May-October 2024 will be included in the variable usage tariff January-June 2025. Therefore, this amount is divided by the volume for 1st half of 2025.
Profit sharing 2024: network losses per kWh / m3 | USD, pl 2026 / # |  |  |  | -0.0083067 |  | 0.28648
[ END OF SHEET ]

## Calculations tariffs -->
This sheet seperates different types of sheets and is intentionally left blank

## Fixed-variable costs
Calculation Fixed/Variable costs 2026
Description calculation
On this sheet the ACM splits costs per department in a fixed and variable part.
Variable costs per unit are costs multiplied by percentage variable, divided by realized volume 2024. Fixed costs are costs multiplied by percentage fixed (= 1 - percentage variable).
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Remarks
Relevant data
Parameters
Estimated inflation 2024 | % | 3.2%
Estimated inflation 2026 | % | 1.9%
WACC 2026 | % |  |  | 8.89% | 8.08% | 7.13% | 7.13% | 7.13%
Estimated percentage of water by truck 2026 | % | 1.102%
Volume
Unit | (see column) |  |  | kWh | kVA | m3 | connections | m3
Realized volume 2024 | (see column) |  |  | 17242361.95 | 19062.5075 | 186919 | 1178.75 | 1036.6
Cost base
Operational costs 2024 (excl. fuel and other income) | USD, pl 2024 |  | 5086371.45 | 2076797.0071 | 1376192.1909 | 898450.341 | 734931.911
Other income 2024 (excl. income new connections for water distribution) | USD, pl 2024 |  | 162360.32 | 886.9424 | 128458.4306 | 422.3535 | 32592.5935
RAB-value ultimo 2024 | USD |  | 10211594.4798 | 3498800.5177 | 2018113.3257 | 1340233.1679 | 3342484.5729 | 11962.8956
Depreciation in 2024 | USD |  | 1071030.3548 | 458415.4079 | 238571.9973 | 137450.8482 | 235420.0518 | 1172.0496
Income related to new connections | USD, pl 2024 |  | 39576.3345 |  |  |  | 39576.3345
Variable part of operational costs | % |  |  | 19.41% | 27.58% | 12.89% | 30.23% | 30.23%
Fixed part of operational costs | % |  |  | 80.59% | 72.42% | 87.11% | 69.77% | 69.77%
Variable part of capital costs | % |  |  | 0% | 50% | 0% | 0% | 50%
Fixed part of capital costs | % |  |  | 100% | 50% | 100% | 100% | 50%
Additions to cost base (major occurrences)
Addition in RAB per connection | USD/connection | [5 empty] | 4592.7167
Addition in depreciation per connection | USD/connection | [5 empty] | 319.3281
Addition to RAB phase 3 | USD |  |  | 783282.3229
Addtion to depreciation phase 3 | USD |  |  | 56648.2449
Additionals to fixed capital costs phase 3 | USD |  |  | 126282.0434
Calculation split water distribution
Realized costs after split water distribution | [8 empty] | ACM splits cost of water distribution between distribution by line and by truck, using estimated percentage of water by truck as allocation key.
Operational costs 2024 (excl. fuel) | USD, pl 2024 |  | 5086371.45 | 2076797.0071 | 1376192.1909 | 898450.341 | 726831.1062 | 8100.8048
Other income 2024 (excl. income new connections for water distribution) | USD, pl 2024 |  | 162360.32 | 886.9424 | 128458.4306 | 422.3535 | 32233.3408 | 359.2527
RAB-value ultimo 2024 | USD |  | 10211594.4798 | 3498800.5177 | 2018113.3257 | 1340233.1679 | 3305641.9555 | 48805.513
Depreciation in 2024 | USD |  | 1071030.3548 | 458415.4079 | 238571.9973 | 137450.8482 | 232825.1285 | 3766.9729
Calculation fixed-variable costs for cost estimates 2026
Fixed/variable operational costs
Estimated fixed operational costs 2026 | USD, pl 2024 |  | 3763769.6788 | 1672801.1684 | 868167.7802 | 782226.5997 | 435281.6602 | 5292.4702 | ACM assumes other income to be related to fixed costs.
Estimated variable operational costs 2026 | USD, pl 2024 |  | 1120665.1167 | 403108.8963 | 379565.98 | 115801.3878 | 219739.7706 | 2449.082
Estimated variable operational costs 2026 per unit | USD, pl 2024 / # |  |  | 0.023379 | 19.9117 | 0.61953 | 186.4176 | 2.3626
Fixed/variable capital costs
Capital costs (RAB*WACC+ depreciation) | USD |  | 1879868.0069 | 769458.7739 | 401635.5541 | 233009.473 | 468517.4 | 7246.806
Estimated fixed capital costs 2026 | USD |  | 1801708.8703 | 895740.8173 | 200817.777 | 233009.473 | 468517.4 | 3623.403
Estimated variable capital costs 2026 | USD |  | 204441.18 | 0 | 200817.777 | 0 | 0 | 3623.403
Estimated variable capital costs 2026 per unit | USD / # |  |  | 0 | 10.5347 | 0 | 0 | 3.4955
Total fixed/variable costs
Total estimated fixed costs 2026 | USD, pl 2026 |  | 5759719.1747 | 2654871.9085 | 1113789.9601 | 1055605.2231 | 926263.0761 | 9189.0069
Total estimated variable costs 2026 per unit | USD, pl 2026 / # |  |  | 0.024586 | 31.4739 | 0.6515 | 196.0383 | 5.98
Variable capital costs per new connection | USD /# | [5 empty] | 646.7888
[ END OF SHEET ]
Note on M52: Income related to new connections is deducted from fixed operational costs
Note on J57: Includes additions in estimated capital costs for solar park phase 3.
Note on M65: These extra variable costs are added per new water connection above the number of connections in 2023.

## Income level
Calculation Income level 2026
Description calculation
On this sheet the ACM calculates an income level per activity for 2026 based on estimated fixed and variable costs.
Income level is fixed costs plus variable costs multiplied by estimated volume 2026.
Description | Unit | Constant | Row total | Electricity production | Electricity distribution | Water production | Water distribution | Water truck delivery | Remarks
Input
Estimated volume
Unit | (see column) |  |  | kWh | kVA | m3 | connections | m3
Estimated volume 2026 |  |  |  | 17885720.4 | 19445.2312 | 229530 | 1292.0739 | 2530
Realized volume 2024 | [6 empty] | 1178.75
Fixed/variable costs
Total estimated fixed costs 2026 | USD, pl 2026 |  |  | 2654871.9085 | 1113789.9601 | 1055605.2231 | 926263.0761 | 9189.0069
Total estimated variable costs 2026 per unit | USD, pl 2026 / # |  |  | 0.024586 | 31.4739 | 0.6515 | 196.0383 | 5.98
Variable capital costs per new connection | USD /# | [5 empty] | 646.7888
Corrections to income level
Fuel cost correction 2024 | USD, pl 2026 |  | 647972.6653 | 647972.6653
Volume-effect correction 2024 | USD, pl 2026 |  | -52710.673 | -119916.2917 | 3556.8237 | 44673.7244 | 14147.4346 | 4827.636
Profit sharing over regular costs 2024 | USD, pl 2026 |  | 360923.2915 | -62115.7658 | 340041.2254 | 147792.7298 | -63748.3025 | -1046.5953
WACC correction 2026 | USD, pl 2026 |  | 263986.2709 | 107373.8198 | 43184.6686 | 34456.754 | 78449.8675 | 521.1611
Energy cost correction 2024 | USD, pl 2026 |  | -9311.6791 |  |  | -9311.6791
Cost of emergency production 2024 | USD, pl 2026 |  | 54086.7189 | 54086.7189
Additionals to fixed capital costs for major occurance phase 3 | USD, pl 2026 |  | -86016.1765 | -86016.1765
Calculation income level
Income level
Income level (before corrections) | USD, pl 2026 |  |  | 3094601.7547 | 1725808.1836 | 1205143.9411 | 1252855.6055 | 24318.4295 | The income level before corrections is equal to estimated costs for 2025 including a reasonable return (WACC).
Income level (after corrections) | USD, pl 2026 |  |  | 3635986.7247 | 2112590.9012 | 1422755.4702 | 1281704.6051 | 28620.6312
[ END OF SHEET ]
Note on M16: Needed for variable capital costs per new water connection.Amount of new connections is: Estimated number of connections 2025 minus number of connections 2023.
Note on M35: Variable capital cost per new connection only apply to new connections.

## Variable tariffs electricity
Tariff calculation Electricity - variable
Description
On this sheet the ACM calculates the production price and variable distribution tariff for electricity.
The production price is based on income level for electricity production. The variable distribution tariff electricity is based on the production price electricity.
The calculations are explained in the Remarks column.
Description | Unit | Constant | Remarks
Production price electricity
Production price excluding fuel
Income level for electricity production 2026 | USD, pl 2026 | 3635986.7247
Estimated volume electricity production 2026 | kWh | 17885720.4
Production price electricity 2026 excl. fuel | USD/kWh, pl 2026 | 0.20329 | The production price for electricity, excluding fuel component, is equal to income level divided by estimated volume for electricity production.
Production price electricity 2026 excl. fuel (rounded) | USD/kWh, pl 2026 | 0.2033 | Rounded to four decimals.
Fuel component
Estimated fuel efficiency 2026 | liters/kWh | 0.26216
Estimated share production with fuel 2026 | % | 46.28%
Most recent fuel price | USD/liter | 0.7839
Fuel component January 2026 | USD/kWh, pl 2026 | 0.095098 | The fuel component is fuel costs per kWh, given by: fuel price * fuel efficiency * share of production by fuel.
Production price including fuel
Production price electricty 2026 incl. fuel | USD/kWh, pl 2026 | 0.29839
Production price electricty 2026 incl. fuel (rounded) | USD/kWh, pl 2026 | 0.2984 | Rounded to four decimals.
Variable distribution tariff electricity
Corrections added to variable tariff
Fuel component correction May - October 2024 per kWh | USD/kWh, pl 2026 | 0.0041959
Profit sharing over network losses 2023 per kWh | USD/kWh, pl 2026 | -0.0083067
Network losses
Estimated network losses 2026 | % | 9.5%
Calculation variable distribution tariff
Variable distribution tariff electricity 2026 | USD/kWh, pl 2026 | 0.32517 | The variable distribution tairff for electricity is the production price electricity plus corrections, divided by percentage billed electricity.
Variable distribution tariff electricity 2026 | USD/kWh, pl 2026 | 0.3252 | Rounded to four decimals.
[ END OF SHEET ]

## Fixed tariffs electricity
Tariff calculation Electricity - fixed
Description
On this sheet the ACM calculates the fixed distribution tariffs and the tariffs for connection activities for electricity.
The fixed distribution tariffs are based on income level for electricity distribution. Tarrifs for connection activities are last year's tariffs indexed for inflation.
The calculations are explained in the Remarks column.
Description | Unit | Constant | Remarks
Fixed distribution tariffs electricity
Income level per kVA per month
Income level for electricity distribution per kVA 2026 | USD, pl 2026 | 2112590.9012
Total estimated kVA of connections 2026 | kVA | 19445.2312
Income level for electricity distribution per kVA per month 2026 | USD/kVA/month, pl 2026 | 9.0536 | Income level is for the whole year 2025, therefore income level per month is income level divided by 12.
Fixed distribution tariff per category |  |  | The (monthly) fixed distribution tariff per category is income level per kVA per month, multiplied by the kVA of the connection.
3.2 | USD/month, pl 2026 | 28.9715
7.7 | USD/month, pl 2026 | 69.7127
11 | USD/month, pl 2026 | 99.5895
13.86 | USD/month, pl 2026 | 125.4828
13.3 | USD/month, pl 2026 | 120.4128
19 | USD/month, pl 2026 | 172.0183
23.94 | USD/month, pl 2026 | 216.7431
30.4 | USD/month, pl 2026 | 275.2293
38 | USD/month, pl 2026 | 344.0366
47.5 | USD/month, pl 2026 | 430.0457
60.8 | USD/month, pl 2026 | 550.4586
76 | USD/month, pl 2026 | 688.0732
85.5 | USD/month, pl 2026 | 774.0823
95 | USD/month, pl 2026 | 860.0915
119.7 | USD/month, pl 2026 | 1083.7153
175 | USD/month, pl 2026 | 1584.3791
200 | USD/month, pl 2026 | 1810.7189
Tariffs for connection activities
Parameters
Estimated inflation 2026 | % | 1.9%
Tariffs for connection activities 2024
Reconnection fee 2024 | USD, pl 2025 | 40
Tariff new electricity connection 3,2 and 7,7 kVA (incl. up to 25 meters) | USD, pl 2025 | 305.4366
Tariff for road crossing for 3,2 kVA connection, per meter | USD, pl 2025 | 189.5535
Tariff for road crossing for 7,7 kVA connection, per meter | USD, pl 2025 | 205.7859
Tariffs for connection activities 2026
Reconnection fee 2026 | USD, pl 2026 | 40 | The reconnection fee is set fixed at USD 40. Therefore, it is not indexed.
Tariff new electricity connection 3,2 and 7,7 kVA (incl. up to 25 meters) 2026 | USD, pl 2026 | 311.2399
Tariff for road crossing for 3,2 kVA connection, per meter 2026 | USD, pl 2026 | 193.155
Tariff for road crossing for 7,7 kVA connection, per meter 2026 | USD, pl 2026 | 209.6959
[ END OF SHEET ]

## Variable tariffs water
Tariff calculation drinking water - variable
Description
On this sheet the ACM calculates the production price, variable distribution tariff and tariff for truck delivery of drinking water.
The calculations are explained in the Remarks column.
Description | Unit | Constant | Remarks
Production price drinking water
Production price excluding electricity costs
Income level for water production per m3 2026 | USD, pl 2026 | 1422755.4702
Estimated volume water production 2026 | m3 | 229530
Production price drinking water 2026 (excl. electricity costs) | USD/m3, pl 2026 | 6.1986 | Not established in the tariff decision, ACM only establishes a production price including electricity costs. This is unlike the production price electricity because the fuel component for electricity can change monthly, but electricity tariffs for the water plant can not.
Electricity costs of water production
Variable distribution tariff electricity 2026 | USD/kWh, pl 2026 | 0.32517
Fixed distribution tariff for water production facility | USD/month, pl 2026 | 774.0823
Production yield based on electricity | kWh/m3 | 5.1956
Fixed electricity costs for water production | USD, pl 2026 | 9288.9882 | Fixed tariffs are charged monthly, therefore annual fixed electricity costs equal the fixed tariff muliplied by 12.
Variable electricity costs for water production per m3 | USD/m3, pl 2026 | 1.6894
Electricity costs for water production per m3 | USD/m3, pl 2026 | 1.7299
Production price including electricity costs
Production price drinking water 2026 (incl. electricity costs) | USD/m3, pl 2026 | 7.9285
Production price drinking water 2026 (incl. electricity costs, rounded) | USD/m3, pl 2026 | 7.928 | Rounded to three decimals.
Variable distribution tariff drinking water
Corrections added to variable distribution tariff
Profit sharing: network losses 2023 per m3 | USD/m3, pl 2026 | 0.28648
Network losses (NRW)
Estimated network losses 2026 in % | % | 45%
Calculation variable distribution tariff drinking water
Variable distribution tariff 2026 drinking water | USD/m3, pl 2026 | 14.9363 | The variable distribution tariff drinking water is the production price drinking water plus corrections, divided by percentage billed water.
Variable distribution tariff 2026 drinking water (rounded) | USD/m3, pl 2026 | 14.936 | Rounded to three decimals.
Water distribution by truck
Calculation tariff distribution by truck
Income level for water truck delivery | USD, pl 2026 | 28620.6312
Estimated volume water distributed by truck 2026 | m3 | 2530
Tariff for water distribution by truck 2026 | USD/m3, pl 2026 | 19.241 | The tariff for water distribution by truck is the production price drinking water plus income level per m3 for water distribution by truck.
Tariff for water distribution by truck 2026 (rounded) | USD/m3, pl 2026 | 19.241 | Rounded to three decimals.
[ END OF SHEET ]

## Fixed tariffs water
Tariff calculation drinking water - fixed
Description
On this sheet the ACM calculates the fixed distribution tariff and the tariffs for connection activities for drinking water
The calculations are explained in the Remarks column.
Description | Unit | Constant | Remarks
Fixed distribution tariff drinking water
Calculation fixed distribution tariff
Income level for drinking water distribution 2026 | USD, pl. 2026 | 1281704.6051
Estimated number of drinking water connections 2026 | m3 | 1292.0739
Fixed distribution tariff drinking water 2026 | USD/month, pl 2026 | 82.6646 | The (monthly) fixed distribution tariff for drinking water is income level per connection per month. Income level is for the whole year 2025, therefore income level per month is income level divided by 12.
Tariffs for connection activities
Parameters
Estimated inflation 2026 | % | 1.9%
Tariffs associated with connection activities in 2024
Reconnection fee | USD, pl 2025 | 40
Tariff for new water connection in 2024 | USD, pl 2025 | 281.4014
Tariff for road crossing, per meter 2024 | USD, pl 2025 | 195.4296
Tariffs associated with connection activities in 2026
Reconnection fee | USD, pl 2026 | 40 | The reconnection fee is set fixed at USD 40. Therefore, it is not indexed.
Tariff for new water connection 2026 | USD, pl 2026 | 286.748
Tariff for road crossing, per meter 2026 | USD, pl 2026 | 199.1428
[ END OF SHEET ]

## Dictum&Bijlage 1 Electricity EN
Dictum en Bijlage 1 Besluit: tariffs and key figures Electricity
Description
On this sheet all the relevant information to include in the appendix of the decision on the tariffs of 2026 is shown.
Tariffs to include in Dictum production price decision | Unit
Production price electricity excl. fuel | USD, pl 2026 / kWh | 0.2033
Distribution tariffs 2026 | Unit
Variable distribution tariff electricity | USD, pl 2026 / kWh | 0.3252
Fixed distribution tariff electricity
Tariff per kVA | USD, pl 2026 / month | 9.0536
Tariff category
3,2 kVA | USD, pl 2026 / month | 28.9715
7,7 kVA | USD, pl 2026 / month | 69.7127
11 kVA | USD, pl 2026 / month | 99.5895
13,86 kVA | USD, pl 2026 / month | 125.4828
13,3 kVA | USD, pl 2026 / month | 120.4128
19 kVA | USD, pl 2026 / month | 172.0183
23,94 kVA | USD, pl 2026 / month | 216.7431
30,4 kVA | USD, pl 2026 / month | 275.2293
38 kVA | USD, pl 2026 / month | 344.0366
47,5 kVA | USD, pl 2026 / month | 430.0457
60,8 kVA | USD, pl 2026 / month | 550.4586
76 kVA | USD, pl 2026 / month | 688.0732
85,5 kVA | USD, pl 2026 / month | 774.0823
95 kVA | USD, pl 2026 / month | 860.0915
119,7 kVA | USD, pl 2026 / month | 1083.7153
175 kVA | USD, pl 2026 / month | 1584.3791
200 kVA | USD, pl 2026 / month | 1810.7189
Connections tariffs electricity
Tariff for reconnection | USD, pl 2026 | 40
Connection 3,2 and 7,7 kVA (incl. up to 25 meters) | USD, pl 2026 | 311.2399
Additional tariff for road crossing
Tariff for road crossing for 3,2 kVA connection, per meter | USD, pl 2026 | 193.155
Tariff for road crossing for 7,7 kVA connection, per meter | USD, pl 2026 | 209.6959
Key figures Tariff decisions STUCO 2026 - Electricity | Unit
Parameters
Recalculated WACC 2024 - Electricity Production | % | 8.38%
Recalculated WACC 2024 - Electricity Distribution | % | 7.28%
WACC 2026 - Electricity Production | % | 8.89%
WACC 2026 - Electricity Distribution | % | 8.08%
Estimated inflation 2024 | % | 3.2%
Estimated inflation 2026 | % | 1.9%
Profit sharing percentage | % | 50%
Wettelijke rente CNL ('legal fixed interest rate') | % | 3%
Summary of cost data 2024 |  | Electricity production | Electricity distribution
Operational costs 2024 (excl fuel) | USD, pl 2024 | 2076797.0071 | 1376192.1909
Other income 2024 | USD, pl 2024 | 886.9424 | 128458.4306
Regulated Asset Value (ultimo 2024) | USD | 3498800.5177 | 2018113.3257
Depreciation over 2024 | USD | 458415.4079 | 238571.9973
Data on developments
Capital costs in 2026 related to major occurrences | USD | 126282.0434
Data on corrections
WACC correction 2024 | USD, pl 2026 | 107373.8198 | 43184.6686
Volume-effect 2024 | USD, pl 2026 | -119916.2917 | 3556.8237
Profit sharing: regular costs 2024 | USD, pl 2026 | -62115.7658 | 340041.2254
Profit sharing: network losses 2024 | USD, pl 2026 |  | -148570.9282
Fuel cost correction 2024 | USD, pl 2026 | 647972.6653
Fuel component correction May-October 2024 | USD, pl 2026 |  | 35271.5487
Total cost of production by GTI in 2024 | USD, pl 2026 | 54086.7189
Income level 2026
Total estimated costs 2026 based on estimated volume 2026 | USD, pl 2026 | 3094601.7547 | 1725808.1836
of which are the estimated variable costs per unit | USD, pl 2026 / # | 0.024586 | 31.4739
Income level 2026 after corrections | USD, pl 2026 | 3635986.7247 | 2112590.9012
Other parameters (expectations 2026 electricity)
Total estimated production volume | kWh | 17885720.4
Production by solar | kWh | 9609000
Production by fuel | kWh | 8276720.4
Estimated production yield for fuel | Liter/kWh | 0.26216
Price fuel (most recent) | USD/liter | 0.7839
Network losses (estimate for 2026) | % |  | 9.5%
Total capacity of the network (estimate for 2026) | kVA |  | 19445.2312
Note: 'pl' means price level

## Dictum&Bijlage 1 Water EN
Dictum en Bijlage 1 Besluit: tariffs and key figures Drinking Water
Description
On this sheet all the relevant information to include in the appendix of the decision on the tariffs of 2026 is shown.
Tariffs to include in Dictum production price decision | Unit
Production price drinking water | USD, pp 2026 / m3 | 7.928
Distribution tariffs 2026 | Unit
Variable distribution tariff drinking water | USD, pp 2026 / m3 | 14.936
Fixed distribution tariff drinking water | USD, pp 2026 / month | 82.6646
Connection tariffs drinking water
Tariff for reconnection | USD, pl 2026 | 40
Standard connection (incl. up to 25 meters) | USD, pl 2026 | 286.748
Tariff for road crossing for standard connection, per meter | USD, pl 2026 | 199.1428
Distribution by truck
Price drinking water by truck | USD, pp 2026 / m3 | 19.241
Key figures Tariff decisions STUCO 2026 - Drinking Water | Unit
Parameters
Recalculated WACC 2024 - Water Production and Distribution | % | 8.25%
WACC 2026 - Water Production and Distribution | % | 7.13%
Estimated inflation 2024 | % | 3.2%
Estimated inflation 2026 | % | 1.9%
Wettelijke rente CNL ('legal fixed interest rate') | % | 3%
Expected percentage of drinking water delivered by truck in 2026 | % | 1.102%
Percentage for profit sharing | % | 50%
Summary of cost data 2024 |  | Water production | Water distribution | Water truck delivery
Operational costs 2024 (excl fuel) | USD, pl 2024 | 898450.341 | 726831.1062 | 8100.8048
Other income 2024 | USD, pl 2024 | 422.3535 | 32233.3408 | 359.2527
Regulated Asset Value (ultimo 2024) | USD | 1340233.1679 | 3305641.9555 | 48805.513
Depreciation over 2024 | USD | 137450.8482 | 232825.1285 | 3766.9729
Data on developments
Addition in RAB in 2026 due to growth of the water network | USD, pl 2026/# |  | 4592.7167
Addition in depreciation in 2026 due to growth of the water network | USD, pl 2026/# |  | 319.3281
Data on corrections
WACC correction 2024 | USD, pl 2026 | 34456.754 | 78449.8675 | 521.1611
Volume-effect 2024 | USD, pl 2026 | 44673.7244 | 14147.4346 | 4827.636
Profit sharing: regular costs 2024 | USD, pl 2026 | 147792.7298 | -63748.3025 | -1046.5953
Profit sharing: network losses 2024 | USD, pl 2026 |  | 65030.9731
Energy costs correction 2024 | USD, pl 2026 | -9311.6791
Income level 2026
Total estimated costs 2026 based on estimated volume 2026 | USD, pl 2026 | 1205143.9411 | 1252855.6055 | 24318.4295
of which are the estimated variable costs per unit | USD, pl 2026 / # | 0.6515 | 196.0383 | 5.98
plus extra variable capital costs per new water connection | USD, pl 2026 / # |  | 646.7888
Income level 2026 after corrections | USD, pl 2026 | 1422755.4702 | 1281704.6051 | 28620.6312
Additional: total electricity costs for production of drinking water | USD, pl 2026 | 1.7299
Other parameters (expectations 2026 drinking water)
Total estimated production volume | m3 | 229530
of which distributed by truck | m3 |  |  | 2530
Required electricity for drinking water | kWh/m3 | 5.1956
kVA-connection for water production | kVA | 85.5
Network loss (estimated for 2026) | % |  | 45%
Estimated number of connections 2026 (standard category) | # |  | 1292.0739
Note: 'pl' means price level